## Feuil1
Variable | Description | Unit | source file
ch1_cooling | Chiller 1 cooling production | kWh | chiller_cooling_separate
ch2_cooling | Chiller 2 cooling production | kWh | chiller_cooling_separate
ch3_cooling | Chiller 3 cooling production | kWh | chiller_cooling_separate
Ch1_Tin_cond | Chiller 1 inlet condenser water T° | °C | chiller_raw_data
Ch1_Tout_cond | Chiller 1 outlet condenser water T° | °C | chiller_raw_data
Ch1_mcond | Chiller 1 condenser flow | m3/h | chiller_raw_data
Ch1_Tin_evap | Chiller 1 inlet evaporator water T° | °C | chiller_raw_data
Ch1_Tout_evap | Chiller 1 outlet evaporator water T° | °C | chiller_raw_data
Ch1_mevap | Chiller 1 evaporator flow | m3/h | chiller_raw_data
Ch1_power | Chiller 1 electrical consumption | kWh | chiller_raw_data
Ch2_Tin_cond | Chiller 2 inlet condenser water T° | °C | chiller_raw_data
Ch2_Tout_cond | Chiller 2 outlet condenser water T° | °C | chiller_raw_data
Ch2_mcond | Chiller 2 condenser flow | m3/h | chiller_raw_data
Ch2_Tin_evap | Chiller 2 inlet evaporator water T° | °C | chiller_raw_data
Ch2_Tout_evap | Chiller 2 outlet evaporator water T° | °C | chiller_raw_data
Ch2_mevap | Chiller 2 evaporator flow | m3/h | chiller_raw_data
Ch2_power | Chiller 2 electrical consumption | kWh | chiller_raw_data
Ch3_Tin_cond | Chiller 3 inlet condenser water T° | °C | chiller_raw_data
Ch3_Tout_cond | Chiller 3 outlet condenser water T° | °C | chiller_raw_data
Ch3_mcond | Chiller 3 condenser flow | m3/h | chiller_raw_data
Ch3_Tin_evap | Chiller 3 inlet evaporator water T° | °C | chiller_raw_data
Ch3_Tout_evap | Chiller 3 outlet evaporator water T° | °C | chiller_raw_data
Ch3_mevap | Chiller 3 evaporator flow | m3/h | chiller_raw_data
Ch3_power | Chiller 3 electrical consumption | kWh | chiller_raw_data
Gv2_load | substation GV2 cooling demand | kWh | client_load_data
Gv2_delt | substation GV2 DT | °C | client_load_data
Gv2_flow | substation GV2 flow | m3/h | client_load_data
Hsb_load | substation HSB cooling demand | kWh | client_load_data
Hsb_delt | substation HSB DT | °C | client_load_data
Hsb_flow | substation HSB flow | m3/h | client_load_data
Pfa_load | substation PFA cooling demand | kWh | client_load_data
Pfa_delt | substation PFA DT | °C | client_load_data
Pfa_flow | substation PFA flow | m3/h | client_load_data
Ser_load | substation SERTRAM cooling demand | kWh | client_load_data
Ser_delt | substation SERTRAM DT | °C | client_load_data
Ser_flow | substation SERTRAM flow | m3/h | client_load_data
Fir_load | substation FIRA cooling demand | kWh | client_load_data
Fir_delt | substation FIRA DT | °C | client_load_data
Fir_flow | substation FIRA flow | m3/h | client_load_data
Tin_ct | cooling tower inlet water T | °C | cooling_tower_raw_data
Tout_ct1 | cooling tower 1 outlet water T | °C | cooling_tower_raw_data
Tout_ct2 | cooling tower 2 outlet water T | °C | cooling_tower_raw_data
Tout_ct3 | cooling tower 3 outlet water T | °C | cooling_tower_raw_data
Tout_ct4 | cooling tower 4 outlet water T | °C | cooling_tower_raw_data
Tout_ct5 | cooling tower 5 outlet water T | °C | cooling_tower_raw_data
Tout_ct | cooling tower outlet miwed water T | °C | cooling_tower_raw_data
Ct1_power | cooling tower 1 electrical consumption | kWh | cooling_tower_raw_data
Ct2_power | cooling tower 2 electrical consumption | kWh | cooling_tower_raw_data
Ct3_power | cooling tower 3 electrical consumption | kWh | cooling_tower_raw_data
Ct4_power | cooling tower 4 electrical consumption | kWh | cooling_tower_raw_data
Ct5_power | cooling tower 5 electrical consumption | kWh | cooling_tower_raw_data
Water_cons | cooling tower water consumption | m3/h | cooling_tower_raw_data
ar1_power | Condenser 1 pump electrical consumption | kWh | pump_raw_data
ar2_power | Condenser 2 pump electrical consumption | kWh | pump_raw_data
ar3_power | Condenser 3 pump electrical consumption | kWh | pump_raw_data
af1_power | Evaporator 1 pump electrical consumption | kWh | pump_raw_data
af2_power | Evaporator 2 pump electrical consumption | kWh | pump_raw_data
af3_power | Evaporator 3 pump electrical consumption | kWh | pump_raw_data
af11_power | Incasol 1 distribution pump electrical consumption | kWh | pump_raw_data
af12_power | Incasol 2 distribution pump electrical consumption | kWh | pump_raw_data
af21_power | Truncal 1 distribution pump electrical consumption | kWh | pump_raw_data
af22_power | Truncal 2 distribution pump electrical consumption | kWh | pump_raw_data
af31_power | FIRA 1 distribution pump electrical consumption | kWh | pump_raw_data
af32_power | FIRA 2 distribution pump electrical consumption | kWh | pump_raw_data
af33_power | FIRA 3 distribution pump electrical consumption | kWh | pump_raw_data