## best_performing_all
| chiller_evap_return_temp_time_step_0 | chiller_cond_entry_temp_time_step_0 | total_evap_nwk_flowrate_time_step_0 | total_cond_nwk_flowrate_time_step_0 | sp1_temp_t_inout_time_step_0 | sp2_temp_t_inout_time_step_0 | ch1_1_evap_m_perc_time_step_0 | ch1_1_evap_t_out_time_step_0 | ch1_2_evap_m_perc_time_step_0 | ch1_2_evap_t_out_time_step_0 | ch1_3_evap_m_perc_time_step_0 | ch1_3_evap_t_out_time_step_0 | ch1_4_evap_m_perc_time_step_0 | ch1_4_evap_t_out_time_step_0 | gv2_ss_m_perc_time_step_0 | gv2_ss_t_in_time_step_0 | cp_nwk_m_perc_time_step_0 | cp_nwk_tinout_time_step_0 | ch_evap_ret_t_in_time_step_0 | ch_e_f_c_mass_flow_time_step_0 | sp1_temp_y_time_step_0 | sp2_temp_y_time_step_0 | ch_evap_ret_y_time_step_0 | ch_e_f_c_y_time_step_0 | ch1_1_evap_y_time_step_0 | ch1_2_evap_y_time_step_0 | ch1_3_evap_y_time_step_0 | ch1_4_evap_y_time_step_0 | gv2_ss_y_time_step_0 | cp_nwk_y_time_step_0 | Obj_Value_time_step_0 | chiller_evap_return_temp_time_step_1 | chiller_cond_entry_temp_time_step_1 | total_evap_nwk_flowrate_time_step_1 | total_cond_nwk_flowrate_time_step_1 | sp1_temp_t_inout_time_step_1 | sp2_temp_t_inout_time_step_1 | ch1_1_evap_m_perc_time_step_1 | ch1_1_evap_t_out_time_step_1 | ch1_2_evap_m_perc_time_step_1 | ch1_2_evap_t_out_time_step_1 | ch1_3_evap_m_perc_time_step_1 | ch1_3_evap_t_out_time_step_1 | ch1_4_evap_m_perc_time_step_1 | ch1_4_evap_t_out_time_step_1 | gv2_ss_m_perc_time_step_1 | gv2_ss_t_in_time_step_1 | cp_nwk_m_perc_time_step_1 | cp_nwk_tinout_time_step_1 | ch_evap_ret_t_in_time_step_1 | ch_e_f_c_mass_flow_time_step_1 | sp1_temp_y_time_step_1 | sp2_temp_y_time_step_1 | ch_evap_ret_y_time_step_1 | ch_e_f_c_y_time_step_1 | ch1_1_evap_y_time_step_1 | ch1_2_evap_y_time_step_1 | ch1_3_evap_y_time_step_1 | ch1_4_evap_y_time_step_1 | gv2_ss_y_time_step_1 | cp_nwk_y_time_step_1 | Obj_Value_time_step_1
0 | 286 | 292 | 64.5 | 3800 | 0.073358 | 0.42833 | 0 | 0 | 1 | 0.10133 | 0 | 0 | 0 | 0 | 0.32336 | 0.30019 | 0.67664 | 0.073358 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 132.9372 | 282 | 291 | 239 | 134 | 0.07952 | 0.295 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.17651 | 0.52952 | 0.3464 | 0.47048 | 0.07952 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 422.6326
1 | 286 | 289 | 64.8 | 3820 | 0.074984 | 0.42833 | 0 | 0 | 1 | 0.10545 | 0 | 0 | 0 | 0 | 0.58762 | 0.31238 | 0.41238 | 0.074984 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.9684 | 285 | 289 | 208 | 1050 | 0.14706 | 0.395 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.31445 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 361.0647
2 | 286 | 289 | 64.5 | 3820 | 0.073358 | 0.42833 | 0 | 0 | 1 | 0.10133 | 0 | 0 | 0 | 0 | 0.77336 | 0.30019 | 0.22664 | 0.073358 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.9632 | 282 | 290 | 243 | 135 | 0.083119 | 0.295 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.19026 | 0.48312 | 0.37339 | 0.51688 | 0.083119 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 410.7095
3 | 286 | 289 | 77.5 | 3400 | 0.133 | 0.42833 | 0 | 0 | 1 | 0.25233 | 0 | 0 | 0 | 0 | 0.783 | 0.74753 | 0.217 | 0.133 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.9268 | 283 | 290 | 245 | 420 | 0.11818 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.28761 | 0.76818 | 0.63634 | 0.23182 | 0.11818 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.612
4 | 287 | 289 | 80.8 | 3390 | 0.14706 | 0.46167 | 0 | 0 | 1 | 0.26551 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 116.1138 | 283 | 289 | 280 | 675 | 0.14443 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.3766 | 0.84443 | 0.83323 | 0.15557 | 0.14443 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.9531
5 | 288 | 289 | 64.4 | 3390 | 0.13958 | 0.495 | 0 | 0 | 1 | 0.23014 | 0 | 0 | 0 | 0 | 0.83958 | 0.79686 | 0.16042 | 0.13958 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.746 | 283 | 290 | 304 | 418 | 0.14706 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.38551 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 441.8232
6 | 287 | 291 | 61.2 | 3370 | 0.08768 | 0.46167 | 0 | 0 | 1 | 0.12688 | 0 | 0 | 0 | 0 | 0.83768 | 0.4076 | 0.16232 | 0.08768 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 118.7375 | 282 | 289 | 242 | 169 | 0.082247 | 0.295 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.18693 | 0.48225 | 0.36685 | 0.51775 | 0.082247 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 398.9341
7 | 287 | 289 | 66 | 3760 | 0.11486 | 0.46167 | 0 | 0 | 1 | 0.19033 | 0 | 0 | 0 | 0 | 0.66486 | 0.61143 | 0.33514 | 0.11486 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8144 | 283 | 290 | 241 | 922 | 0.11469 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.27578 | 0.76469 | 0.61017 | 0.23531 | 0.11469 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.6156
8 | 287 | 290 | 64.4 | 3390 | 0.10623 | 0.46167 | 0 | 0 | 1 | 0.17018 | 0 | 0 | 0 | 0 | 0.55623 | 0.5467 | 0.44377 | 0.10623 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.7833 | 283 | 290 | 243 | 35.5 | 0.11645 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.28175 | 0.71645 | 0.62336 | 0.28355 | 0.11645 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.6134
9 | 288 | 290 | 66 | 3740 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 105.0199 | 283 | 290 | 241 | 922 | 0.11469 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.27578 | 0.76469 | 0.61017 | 0.23531 | 0.11469 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.6156
10 | 288 | 289 | 68.6 | 3580 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 101.9613 | 283 | 289 | 274 | 984 | 0.14045 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.36312 | 0.84045 | 0.8034 | 0.15955 | 0.14045 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.7875
11 | 288 | 290 | 62.2 | 3760 | 0.1269 | 0.495 | 0 | 0 | 1 | 0.20268 | 0 | 0 | 0 | 0 | 0.8269 | 0.70178 | 0.1731 | 0.1269 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.7151 | 284 | 290 | 244 | 50.1 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 395.118
12 | 288 | 290 | 65.5 | 4030 | 0.14549 | 0.495 | 0 | 0 | 1 | 0.24294 | 0 | 0 | 0 | 0 | 0.84549 | 0.84117 | 0.15451 | 0.14549 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.7033 | 284 | 290 | 243 | 51.1 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 392.5453
13 | 288 | 291 | 62.4 | 3270 | 0.12811 | 0.495 | 0 | 0 | 1 | 0.2053 | 0 | 0 | 0 | 0 | 0.82811 | 0.71084 | 0.17189 | 0.12811 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.6475 | 284 | 290 | 245 | 164 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.6908
14 | 286 | 290 | 71.8 | 2210 | 0.10956 | 0.42833 | 0 | 0 | 1 | 0.19297 | 0 | 0 | 0 | 0 | 0.60956 | 0.57169 | 0.39044 | 0.10956 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 118.9172 | 284 | 289 | 256 | 33.5 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 413.7209
15 | 288 | 291 | 63.4 | 3270 | 0.13398 | 0.495 | 0 | 0 | 1 | 0.218 | 0 | 0 | 0 | 0 | 0.78398 | 0.75483 | 0.21602 | 0.13398 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.6248 | 284 | 290 | 254 | 431 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 420.8452
16 | 288 | 289 | 71.7 | 2330 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 106.6017 | 283 | 289 | 247 | 296 | 0.11985 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.29327 | 0.66985 | 0.64886 | 0.33015 | 0.11985 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.9909
17 | 288 | 290 | 63.4 | 3230 | 0.13398 | 0.495 | 0 | 0 | 1 | 0.218 | 0 | 0 | 0 | 0 | 0.78398 | 0.75483 | 0.21602 | 0.13398 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6852 | 284 | 290 | 248 | 248 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 405.4089
18 | 288 | 290 | 61.6 | 3830 | 0.12331 | 0.495 | 0 | 0 | 1 | 0.1949 | 0 | 0 | 0 | 0 | 0.77331 | 0.67484 | 0.22669 | 0.12331 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.7167 | 283 | 289 | 247 | 232 | 0.11985 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.29327 | 0.66985 | 0.64886 | 0.33015 | 0.11985 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.9909
19 | 287 | 289 | 65.8 | 3440 | 0.11382 | 0.46167 | 0 | 0 | 1 | 0.1879 | 0 | 0 | 0 | 0 | 0.76382 | 0.60362 | 0.23618 | 0.11382 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8104 | 283 | 289 | 248 | 248 | 0.12067 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.29607 | 0.67067 | 0.65504 | 0.32933 | 0.12067 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.0389
20 | 288 | 290 | 62.8 | 3270 | 0.13047 | 0.495 | 0 | 0 | 1 | 0.21041 | 0 | 0 | 0 | 0 | 0.83047 | 0.72856 | 0.16953 | 0.13047 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.7001 | 283 | 289 | 248 | 131 | 0.12067 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.29607 | 0.67067 | 0.65504 | 0.32933 | 0.12067 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.0389
21 | 288 | 290 | 62.6 | 3020 | 0.12931 | 0.495 | 0 | 0 | 1 | 0.2079 | 0 | 0 | 0 | 0 | 0.82931 | 0.71984 | 0.17069 | 0.12931 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6994 | 284 | 289 | 249 | 49.9 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 395.9729
22 | 287 | 289 | 65.8 | 3440 | 0.11382 | 0.46167 | 0 | 0 | 1 | 0.1879 | 0 | 0 | 0 | 0 | 0.76382 | 0.60362 | 0.23618 | 0.11382 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8104 | 283 | 289 | 248 | 1150 | 0.12067 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.29607 | 0.67067 | 0.65504 | 0.32933 | 0.12067 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.0389
23 | 288 | 290 | 62.9 | 3240 | 0.13106 | 0.495 | 0 | 0 | 1 | 0.21168 | 0 | 0 | 0 | 0 | 0.83106 | 0.73293 | 0.16894 | 0.13106 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6991 | 284 | 290 | 255 | 231 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 423.4179
24 | 288 | 290 | 62.9 | 3240 | 0.13106 | 0.495 | 0 | 0 | 1 | 0.21168 | 0 | 0 | 0 | 0 | 0.83106 | 0.73293 | 0.16894 | 0.13106 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6991 | 284 | 290 | 255 | 230 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 423.4179
25 | 288 | 289 | 61 | 3590 | 0.11972 | 0.495 | 0 | 0 | 1 | 0.18712 | 0 | 0 | 0 | 0 | 0.66972 | 0.64792 | 0.33028 | 0.11972 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7587 | 283 | 289 | 239 | 480 | 0.11292 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.2698 | 0.61292 | 0.59693 | 0.38708 | 0.11292 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.834
26 | 288 | 290 | 67.1 | 3220 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 106.7223 | 283 | 289 | 239 | 252 | 0.11292 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.2698 | 0.61292 | 0.59693 | 0.38708 | 0.11292 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.834
27 | 287 | 290 | 61.6 | 3470 | 0.090089 | 0.46167 | 0 | 0 | 1 | 0.1325 | 0 | 0 | 0 | 0 | 0.59009 | 0.42567 | 0.40991 | 0.090089 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.7782 | 283 | 289 | 240 | 118 | 0.11381 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.2728 | 0.61381 | 0.60358 | 0.38619 | 0.11381 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8662
28 | 288 | 290 | 64.5 | 3240 | 0.14014 | 0.495 | 0 | 0 | 1 | 0.23135 | 0 | 0 | 0 | 0 | 0.84014 | 0.80104 | 0.15986 | 0.14014 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6839 | 284 | 289 | 250 | 188 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 398.5083
29 | 288 | 289 | 68.1 | 3970 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 101.2128 | 283 | 289 | 250 | 186 | 0.1223 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.30159 | 0.6723 | 0.66727 | 0.3277 | 0.1223 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.1349
30 | 287 | 289 | 63.6 | 3270 | 0.10167 | 0.46167 | 0 | 0 | 1 | 0.15953 | 0 | 0 | 0 | 0 | 0.55167 | 0.51249 | 0.44833 | 0.10167 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.844 | 283 | 290 | 256 | 70.7 | 0.12713 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.31795 | 0.82713 | 0.70346 | 0.17287 | 0.12713 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.865
31 | 288 | 289 | 63.6 | 3270 | 0.13513 | 0.495 | 0 | 0 | 1 | 0.2205 | 0 | 0 | 0 | 0 | 0.83513 | 0.76349 | 0.16487 | 0.13513 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7402 | 283 | 290 | 242 | 3.91 | 0.11557 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.27875 | 0.66557 | 0.61674 | 0.33443 | 0.11557 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.6369
32 | 287 | 290 | 63.6 | 3760 | 0.10167 | 0.46167 | 0 | 0 | 1 | 0.15953 | 0 | 0 | 0 | 0 | 0.55167 | 0.51249 | 0.44833 | 0.10167 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.8099 | 284 | 290 | 241 | 103 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 387.3999
33 | 288 | 290 | 63.9 | 3970 | 0.13681 | 0.495 | 0 | 0 | 1 | 0.22413 | 0 | 0 | 0 | 0 | 0.83681 | 0.77605 | 0.16319 | 0.13681 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6836 | 284 | 289 | 248 | 49.9 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 393.4374
34 | 288 | 290 | 64 | 79.7 | 0.13736 | 0.495 | 0 | 0 | 1 | 0.22533 | 0 | 0 | 0 | 0 | 0.78736 | 0.7802 | 0.21264 | 0.13736 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6854 | 283 | 289 | 253 | 232 | 0.12472 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.30977 | 0.71463 | 0.68537 | 0.28537 | 0.12472 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.223
35 | 288 | 289 | 64.1 | 79.7 | 0.13791 | 0.495 | 0 | 0 | 1 | 0.22652 | 0 | 0 | 0 | 0 | 0.83791 | 0.78434 | 0.16209 | 0.13791 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7475 | 283 | 289 | 242 | 47 | 0.11557 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.27875 | 0.66557 | 0.61674 | 0.33443 | 0.11557 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.9194
36 | 288 | 289 | 64.1 | 81.4 | 0.13791 | 0.495 | 0 | 0 | 1 | 0.22652 | 0 | 0 | 0 | 0 | 0.83791 | 0.78434 | 0.16209 | 0.13791 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7475 | 283 | 289 | 268 | 233 | 0.13625 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34887 | 0.83625 | 0.77188 | 0.16375 | 0.13625 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.7797
37 | 288 | 289 | 67 | 3270 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 99.5662 | 283 | 289 | 295 | 2970 | 0.14706 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.38551 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 409.8314
38 | 287 | 289 | 65.7 | 4040 | 0.11329 | 0.46167 | 0 | 0 | 1 | 0.18668 | 0 | 0 | 0 | 0 | 0.61329 | 0.5997 | 0.38671 | 0.11329 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8084 | 283 | 289 | 242 | 114 | 0.11557 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.27875 | 0.66557 | 0.61674 | 0.33443 | 0.11557 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.9194
39 | 288 | 290 | 63.9 | 492 | 0.13681 | 0.495 | 0 | 0 | 1 | 0.22413 | 0 | 0 | 0 | 0 | 0.83681 | 0.77605 | 0.16319 | 0.13681 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6836 | 283 | 289 | 255 | 46.8 | 0.12632 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.31521 | 0.82632 | 0.6974 | 0.17368 | 0.12632 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.2027
40 | 288 | 290 | 63.9 | 492 | 0.13681 | 0.495 | 0 | 0 | 1 | 0.22413 | 0 | 0 | 0 | 0 | 0.83681 | 0.77605 | 0.16319 | 0.13681 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6836 | 283 | 289 | 267 | 56.5 | 0.13554 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34646 | 0.78554 | 0.76654 | 0.21446 | 0.13554 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.7549
41 | 288 | 290 | 65.9 | 3780 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8651 | 284 | 289 | 239 | 569 | 0.14617 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34365 | 0.84624 | 0.84624 | 0.15376 | 0.14617 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 373.1415
42 | 288 | 289 | 65.7 | 3370 | 0.14649 | 0.495 | 0 | 0 | 1 | 0.24511 | 0 | 0 | 0 | 0 | 0.84871 | 0.84871 | 0.15129 | 0.14649 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7797 | 283 | 289 | 267 | 55.9 | 0.13554 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34646 | 0.78554 | 0.76654 | 0.21446 | 0.13554 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.7549
43 | 287 | 290 | 69.2 | 2740 | 0.13086 | 0.46167 | 0 | 0 | 1 | 0.2277 | 0 | 0 | 0 | 0 | 0.83086 | 0.73147 | 0.16914 | 0.13086 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.7893 | 284 | 289 | 249 | 1550 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 395.9729
44 | 288 | 289 | 64.4 | 75.1 | 0.13958 | 0.495 | 0 | 0 | 1 | 0.23014 | 0 | 0 | 0 | 0 | 0.83958 | 0.79686 | 0.16042 | 0.13958 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.746 | 283 | 289 | 241 | 601 | 0.11469 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.27578 | 0.61469 | 0.61017 | 0.38531 | 0.11469 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8984
45 | 288 | 289 | 64.4 | 79.3 | 0.13958 | 0.495 | 0 | 0 | 1 | 0.23014 | 0 | 0 | 0 | 0 | 0.83958 | 0.79686 | 0.16042 | 0.13958 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.746 | 283 | 289 | 270 | 275 | 0.13766 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.35364 | 0.83766 | 0.78243 | 0.16234 | 0.13766 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8292
46 | 288 | 290 | 64.4 | 75.2 | 0.13958 | 0.495 | 0 | 0 | 1 | 0.23014 | 0 | 0 | 0 | 0 | 0.83958 | 0.79686 | 0.16042 | 0.13958 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6856 | 283 | 289 | 241 | 600 | 0.11469 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.27578 | 0.61469 | 0.61017 | 0.38531 | 0.11469 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8984
47 | 288 | 289 | 66.3 | 76.2 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 98.5184 | 283 | 289 | 256 | 76 | 0.12713 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.31795 | 0.77713 | 0.70346 | 0.22287 | 0.12713 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.1442
48 | 288 | 289 | 64.8 | 75.1 | 0.14178 | 0.495 | 0 | 0 | 1 | 0.2349 | 0 | 0 | 0 | 0 | 0.84178 | 0.81336 | 0.15822 | 0.14178 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7444 | 283 | 289 | 256 | 482 | 0.12713 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.31795 | 0.77713 | 0.70346 | 0.22287 | 0.12713 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.1442
49 | 288 | 289 | 67.8 | 4060 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 100.7637 | 283 | 289 | 241 | 836 | 0.11469 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.27578 | 0.61469 | 0.61017 | 0.38531 | 0.11469 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8984
50 | 288 | 289 | 65.2 | 3740 | 0.14391 | 0.495 | 0 | 0 | 1 | 0.23952 | 0 | 0 | 0 | 0 | 0.84391 | 0.82932 | 0.15609 | 0.14391 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7551 | 283 | 290 | 263 | 625 | 0.13256 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.33636 | 0.83256 | 0.74421 | 0.16744 | 0.13256 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.6155
51 | 288 | 289 | 63.4 | 75 | 0.13398 | 0.495 | 0 | 0 | 1 | 0.218 | 0 | 0 | 0 | 0 | 0.83398 | 0.75483 | 0.16602 | 0.13398 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7456 | 283 | 289 | 251 | 157 | 0.1231 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.30431 | 0.87328 | 0.67328 | 0.12672 | 0.1231 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.1931
52 | 288 | 290 | 66.3 | 728 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 105.4842 | 283 | 289 | 265 | 98.5 | 0.13406 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34146 | 0.83406 | 0.75548 | 0.16594 | 0.13406 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8153
53 | 288 | 289 | 62.5 | 468 | 0.12871 | 0.495 | 0 | 0 | 1 | 0.2066 | 0 | 0 | 0 | 0 | 0.82871 | 0.71535 | 0.17129 | 0.12871 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7631 | 283 | 289 | 208 | 509 | 0.08075 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.16073 | 0.43075 | 0.35562 | 0.56925 | 0.08075 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.0093
54 | 288 | 290 | 64.6 | 764 | 0.14069 | 0.495 | 0 | 0 | 1 | 0.23255 | 0 | 0 | 0 | 0 | 0.84069 | 0.8052 | 0.15931 | 0.14069 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6823 | 283 | 289 | 253 | 7.32 | 0.12472 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.30977 | 0.71463 | 0.68537 | 0.28537 | 0.12472 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.223
55 | 288 | 289 | 62.4 | 419 | 0.12811 | 0.495 | 0 | 0 | 1 | 0.2053 | 0 | 0 | 0 | 0 | 0.82811 | 0.71084 | 0.17189 | 0.12811 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7669 | 285 | 290 | 202 | 509 | 0.14009 | 0.395 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.29519 | 0.84009 | 0.80071 | 0.15991 | 0.14009 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 371.7505
56 | 288 | 289 | 62.4 | 411 | 0.12811 | 0.495 | 0 | 0 | 1 | 0.2053 | 0 | 0 | 0 | 0 | 0.82811 | 0.71084 | 0.17189 | 0.12811 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7669 | 284 | 290 | 202 | 493 | 0.10673 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.22355 | 0.75673 | 0.55049 | 0.24327 | 0.10673 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 384.7172
57 | 288 | 289 | 69.8 | 411 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 103.7575 | 284 | 290 | 202 | 1050 | 0.10673 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.22355 | 0.75673 | 0.55049 | 0.24327 | 0.10673 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 384.7172
58 | 288 | 290 | 68.5 | 557 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 108.8889 | 283 | 289 | 264 | 72.7 | 0.13332 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.33892 | 0.78332 | 0.74987 | 0.21668 | 0.13332 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8568
59 | 288 | 290 | 60.9 | 1870 | 0.11912 | 0.495 | 0 | 0 | 1 | 0.18582 | 0 | 0 | 0 | 0 | 0.81912 | 0.64339 | 0.18088 | 0.11912 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6955 | 283 | 289 | 259 | 2460 | 0.12951 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.32603 | 0.82951 | 0.72134 | 0.17049 | 0.12951 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.9778
60 | 288 | 290 | 60.3 | 943 | 0.11539 | 0.495 | 0 | 0 | 1 | 0.17773 | 0 | 0 | 0 | 0 | 0.71539 | 0.61541 | 0.28461 | 0.11539 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.693 | 283 | 289 | 267 | 865 | 0.13554 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34646 | 0.78554 | 0.76654 | 0.21446 | 0.13554 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.7549
61 | 288 | 290 | 60.3 | 943 | 0.11539 | 0.495 | 0 | 0 | 1 | 0.17773 | 0 | 0 | 0 | 0 | 0.71539 | 0.61541 | 0.28461 | 0.11539 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.693 | 283 | 289 | 267 | 865 | 0.13554 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34646 | 0.78554 | 0.76654 | 0.21446 | 0.13554 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.7549
62 | 288 | 289 | 67.8 | 975 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 100.7637 | 283 | 289 | 265 | 991 | 0.13406 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34146 | 0.83406 | 0.75548 | 0.16594 | 0.13406 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8153
63 | 288 | 289 | 66.4 | 2590 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 98.6681 | 284 | 290 | 252 | 105 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 415.6997
64 | 288 | 289 | 70 | 747 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.0569 | 283 | 289 | 240 | 68.3 | 0.11381 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.2728 | 0.61381 | 0.60358 | 0.38619 | 0.11381 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8662
65 | 288 | 289 | 61.2 | 1010 | 0.12093 | 0.495 | 0 | 0 | 1 | 0.18973 | 0 | 0 | 0 | 0 | 0.87093 | 0.65694 | 0.12907 | 0.12093 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.765 | 283 | 289 | 260 | 84.6 | 0.13027 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.32861 | 0.83027 | 0.72705 | 0.16973 | 0.13027 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.9885
66 | 288 | 290 | 63.1 | 748 | 0.13223 | 0.495 | 0 | 0 | 1 | 0.21422 | 0 | 0 | 0 | 0 | 0.83223 | 0.74173 | 0.16777 | 0.13223 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6936 | 283 | 289 | 253 | 1650 | 0.12472 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.30977 | 0.71463 | 0.68537 | 0.28537 | 0.12472 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.223
67 | 287 | 289 | 67 | 3000 | 0.12 | 0.46167 | 0 | 0 | 1 | 0.20233 | 0 | 0 | 0 | 0 | 0.77 | 0.65 | 0.23 | 0.12 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8243 | 283 | 289 | 268 | 84.6 | 0.13625 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34887 | 0.83625 | 0.77188 | 0.16375 | 0.13625 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.7797
68 | 288 | 290 | 67.8 | 3110 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 107.8056 | 283 | 289 | 250 | 1580 | 0.1223 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.30159 | 0.6723 | 0.66727 | 0.3277 | 0.1223 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.1349
69 | 286 | 289 | 73.8 | 2510 | 0.11819 | 0.42833 | 0 | 0 | 1 | 0.21484 | 0 | 0 | 0 | 0 | 0.86819 | 0.63645 | 0.13181 | 0.11819 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.9281 | 284 | 289 | 256 | 869 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 413.7209
70 | 288 | 289 | 68.7 | 2390 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 102.111 | 283 | 289 | 253 | 1140 | 0.12472 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.30977 | 0.71463 | 0.68537 | 0.28537 | 0.12472 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 386.223
71 | 288 | 289 | 61.2 | 270 | 0.12093 | 0.495 | 0 | 0 | 1 | 0.18973 | 0 | 0 | 0 | 0 | 0.87093 | 0.65694 | 0.12907 | 0.12093 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.765 | 284 | 290 | 251 | 2230 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 413.127
72 | 288 | 289 | 60.2 | 975 | 0.11477 | 0.495 | 0 | 0 | 1 | 0.17639 | 0 | 0 | 0 | 0 | 0.76477 | 0.61074 | 0.23523 | 0.11477 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7511 | 283 | 290 | 259 | 804 | 0.12951 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.32603 | 0.82951 | 0.72134 | 0.17049 | 0.12951 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.6962
73 | 288 | 289 | 61.2 | 979 | 0.12093 | 0.495 | 0 | 0 | 1 | 0.18973 | 0 | 0 | 0 | 0 | 0.87093 | 0.65694 | 0.12907 | 0.12093 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.765 | 283 | 290 | 253 | 1650 | 0.12472 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.30977 | 0.71463 | 0.68537 | 0.28537 | 0.12472 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.9449
74 | 288 | 289 | 68.9 | 1320 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 102.4103 | 284 | 289 | 239 | 806 | 0.14617 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34365 | 0.84624 | 0.84624 | 0.15376 | 0.14617 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 373.1415
75 | 288 | 289 | 68.9 | 1320 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 102.4103 | 284 | 290 | 240 | 937 | 0.14694 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34602 | 0.85207 | 0.85207 | 0.14793 | 0.14694 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.1611
76 | 288 | 289 | 68.9 | 2770 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 102.4103 | 284 | 289 | 253 | 1780 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 406.1146
77 | 288 | 289 | 68.7 | 2770 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 102.111 | 284 | 289 | 253 | 1650 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 406.1146
78 | 288 | 289 | 71.7 | 2770 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 106.6017 | 284 | 289 | 239 | 1780 | 0.14617 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34365 | 0.84624 | 0.84624 | 0.15376 | 0.14617 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 373.1415
79 | 288 | 289 | 62.4 | 1450 | 0.12811 | 0.495 | 0 | 0 | 1 | 0.2053 | 0 | 0 | 0 | 0 | 0.82811 | 0.71084 | 0.17189 | 0.12811 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7669 | 284 | 290 | 247 | 1610 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 402.8362
80 | 287 | 289 | 63.4 | 209 | 0.1005 | 0.46167 | 0 | 0 | 1 | 0.15682 | 0 | 0 | 0 | 0 | 0.5505 | 0.50379 | 0.4495 | 0.1005 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8511 | 284 | 289 | 250 | 1840 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 398.5083
81 | 287 | 290 | 63.5 | 1320 | 0.10109 | 0.46167 | 0 | 0 | 1 | 0.15818 | 0 | 0 | 0 | 0 | 0.80109 | 0.50815 | 0.19891 | 0.10109 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.8136 | 284 | 289 | 244 | 1630 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 383.2957
82 | 288 | 289 | 68.8 | 812 | 0.14706 | 0.495 | 0 | 0 | 1 | 0.24634 | 0 | 0 | 0 | 0 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 102.2606 | 284 | 290 | 248 | 1580 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 405.4089
83 | 288 | 290 | 64 | 1320 | 0.13736 | 0.495 | 0 | 0 | 1 | 0.22533 | 0 | 0 | 0 | 0 | 0.78736 | 0.7802 | 0.21264 | 0.13736 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6854 | 284 | 290 | 240 | 1630 | 0.14694 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34602 | 0.85207 | 0.85207 | 0.14793 | 0.14694 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.1611
84 | 288 | 290 | 64 | 1320 | 0.13736 | 0.495 | 0 | 0 | 1 | 0.22533 | 0 | 0 | 0 | 0 | 0.78736 | 0.7802 | 0.21264 | 0.13736 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.6854 | 284 | 289 | 240 | 1630 | 0.14694 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34602 | 0.85207 | 0.85207 | 0.14793 | 0.14694 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 373.483
85 | 287 | 290 | 60.3 | 152 | 0.082067 | 0.46167 | 0 | 0 | 1 | 0.11378 | 0 | 0 | 0 | 0 | 0.38207 | 0.36551 | 0.61793 | 0.082067 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.7812 | 284 | 289 | 248 | 1630 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 393.4374
86 | 287 | 289 | 64.5 | 1440 | 0.10677 | 0.46167 | 0 | 0 | 1 | 0.17146 | 0 | 0 | 0 | 0 | 0.85677 | 0.55081 | 0.14323 | 0.10677 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8192 | 284 | 289 | 249 | 3450 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 395.9729
87 | 288 | 289 | 64.5 | 1450 | 0.14014 | 0.495 | 0 | 0 | 1 | 0.23135 | 0 | 0 | 0 | 0 | 0.84014 | 0.80104 | 0.15986 | 0.14014 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7444 | 284 | 290 | 239 | 1730 | 0.14617 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34365 | 0.84624 | 0.84624 | 0.15376 | 0.14617 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 384.8146
88 | 287 | 289 | 69.8 | 1450 | 0.13376 | 0.46167 | 0 | 0 | 1 | 0.23445 | 0 | 0 | 0 | 0 | 0.78376 | 0.75317 | 0.21624 | 0.13376 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8088 | 284 | 289 | 244 | 1630 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 383.2957
89 | 287 | 289 | 65.1 | 1350 | 0.11008 | 0.46167 | 0 | 0 | 1 | 0.17917 | 0 | 0 | 0 | 0 | 0.61008 | 0.57557 | 0.38992 | 0.11008 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8103 | 284 | 289 | 240 | 2010 | 0.14694 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34602 | 0.85207 | 0.85207 | 0.14793 | 0.14694 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 373.483
90 | 288 | 289 | 65.3 | 1380 | 0.14444 | 0.495 | 0 | 0 | 1 | 0.24066 | 0 | 0 | 0 | 0 | 0.84444 | 0.83328 | 0.15556 | 0.14444 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.7578 | 284 | 290 | 253 | 1570 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 418.2724
91 | 288 | 290 | 61.7 | 1520 | 0.12391 | 0.495 | 0 | 0 | 1 | 0.1962 | 0 | 0 | 0 | 0 | 0.72067 | 0.67933 | 0.27933 | 0.12391 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.7179 | 284 | 290 | 244 | 1690 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 395.118
92 | 288 | 290 | 65.5 | 1530 | 0.14549 | 0.495 | 0 | 0 | 1 | 0.24294 | 0 | 0 | 0 | 0 | 0.84549 | 0.84117 | 0.15451 | 0.14549 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.7033 | 284 | 290 | 244 | 1690 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 395.118
93 | 288 | 289 | 65.8 | 1100 | 0.14695 | 0.495 | 0 | 0 | 1 | 0.2461 | 0 | 0 | 0 | 0 | 0.85211 | 0.85211 | 0.14789 | 0.14695 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 97.8013 | 283 | 290 | 256 | 1590 | 0.12713 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.31795 | 0.82713 | 0.70346 | 0.17287 | 0.12713 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 397.865
94 | 287 | 289 | 64.4 | 2830 | 0.10623 | 0.46167 | 0 | 0 | 1 | 0.17018 | 0 | 0 | 0 | 0 | 0.55623 | 0.5467 | 0.44377 | 0.10623 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 104.8182 | 283 | 289 | 241 | 3220 | 0.11469 | 0.32833 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.27578 | 0.61469 | 0.61017 | 0.38531 | 0.11469 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8984
95 | 287 | 290 | 62.1 | 1330 | 0.093053 | 0.46167 | 0 | 0 | 1 | 0.13942 | 0 | 0 | 0 | 0 | 0.89305 | 0.4479 | 0.10695 | 0.093053 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.786 | 284 | 289 | 245 | 3060 | 0.14706 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34637 | 0.85294 | 0.85294 | 0.14706 | 0.14706 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 385.8311
96 | 287 | 290 | 63 | 1500 | 0.098239 | 0.46167 | 0 | 0 | 1 | 0.15153 | 0 | 0 | 0 | 0 | 0.69824 | 0.48679 | 0.30176 | 0.098239 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 111.8094 | 284 | 289 | 240 | 2920 | 0.14694 | 0.36167 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.34602 | 0.85207 | 0.85207 | 0.14793 | 0.14694 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 373.483

## time_0
| chiller_evap_return_temp_time_step_0 | chiller_cond_entry_temp_time_step_0 | total_evap_nwk_flowrate_time_step_0 | total_cond_nwk_flowrate_time_step_0 | Tout_chiller1 | Load_chiller | Tin_sp1 | Tout_sp1_gv2 | Tout_sp1_cp | Tin_gv2 | Tout_gv2 | Del_T_gv2 | Gv2_demand | Tin_cp | Tout_cp | Tin_sp2 | Tout_sp2
0 | 286 | 292 | 64.5 | 3800 | 2.2007 | 165.3083 | 2.2007 | 2.2007 | 2.2007 | 2.2007 | 9.0067 | 6.8059 | 165.3083 | 2.2007 | 2.2007 | 12.85 | 12.85
1 | 286 | 289 | 64.8 | 3820 | 2.2495 | 169.7581 | 2.2495 | 2.2495 | 2.2495 | 2.2495 | 6.0777 | 3.8282 | 169.7581 | 2.2495 | 2.2495 | 12.85 | 12.85
2 | 286 | 289 | 64.5 | 3820 | 2.2007 | 165.3083 | 2.2007 | 2.2007 | 2.2007 | 2.2007 | 5.0465 | 2.8457 | 165.3083 | 2.2007 | 2.2007 | 12.85 | 12.85
3 | 286 | 289 | 77.5 | 3400 | 3.9901 | 360.124 | 3.9901 | 3.9901 | 3.9901 | 3.9901 | 9.086 | 5.0959 | 360.124 | 3.9901 | 3.9901 | 12.85 | 12.85
4 | 287 | 289 | 80.8 | 3390 | 4.4118 | 415.1338 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 415.1338 | 4.4118 | 4.4118 | 13.85 | 13.85
5 | 288 | 289 | 64.4 | 3390 | 4.1874 | 314.0498 | 4.1874 | 4.1874 | 4.1874 | 4.1874 | 9.175 | 4.9875 | 314.0498 | 4.1874 | 4.1874 | 14.85 | 14.85
6 | 287 | 291 | 61.2 | 3370 | 2.6304 | 187.4715 | 2.6304 | 2.6304 | 2.6304 | 2.6304 | 5.7705 | 3.1401 | 187.4715 | 2.6304 | 2.6304 | 13.85 | 13.85
7 | 287 | 289 | 66 | 3760 | 3.4457 | 264.8422 | 3.4457 | 3.4457 | 3.4457 | 3.4457 | 8.6283 | 5.1826 | 264.8422 | 3.4457 | 3.4457 | 13.85 | 13.85
8 | 287 | 290 | 64.4 | 3390 | 3.1868 | 239.0052 | 3.1868 | 3.1868 | 3.1868 | 3.1868 | 8.9162 | 5.7293 | 239.0052 | 3.1868 | 3.1868 | 13.85 | 13.85
9 | 288 | 290 | 66 | 3740 | 4.4118 | 339.0944 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 339.0944 | 4.4118 | 4.4118 | 14.85 | 14.85
10 | 288 | 289 | 68.6 | 3580 | 4.4118 | 352.4527 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 352.4527 | 4.4118 | 4.4118 | 14.85 | 14.85
11 | 288 | 290 | 62.2 | 3760 | 3.8071 | 275.7718 | 3.8071 | 3.8071 | 3.8071 | 3.8071 | 8.4112 | 4.6041 | 275.7718 | 3.8071 | 3.8071 | 14.85 | 14.85
12 | 288 | 290 | 65.5 | 4030 | 4.3647 | 332.9341 | 4.3647 | 4.3647 | 4.3647 | 4.3647 | 9.527 | 5.1623 | 332.9341 | 4.3647 | 4.3647 | 14.85 | 14.85
13 | 288 | 291 | 62.4 | 3270 | 3.8434 | 279.2923 | 3.8434 | 3.8434 | 3.8434 | 3.8434 | 8.4845 | 4.6411 | 279.2923 | 3.8434 | 3.8434 | 14.85 | 14.85
14 | 286 | 290 | 71.8 | 2210 | 3.2867 | 274.8238 | 3.2867 | 3.2867 | 3.2867 | 3.2867 | 8.6787 | 5.392 | 274.8238 | 3.2867 | 3.2867 | 12.85 | 12.85
15 | 288 | 291 | 63.4 | 3270 | 4.0193 | 296.7593 | 4.0193 | 4.0193 | 4.0193 | 4.0193 | 9.1461 | 5.1268 | 296.7593 | 4.0193 | 4.0193 | 14.85 | 14.85
16 | 288 | 289 | 71.7 | 2330 | 4.4118 | 368.3798 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 368.3798 | 4.4118 | 4.4118 | 14.85 | 14.85
17 | 288 | 290 | 63.4 | 3230 | 4.0193 | 296.7593 | 4.0193 | 4.0193 | 4.0193 | 4.0193 | 9.1461 | 5.1268 | 296.7593 | 4.0193 | 4.0193 | 14.85 | 14.85
18 | 288 | 290 | 61.6 | 3830 | 3.6994 | 265.3826 | 3.6994 | 3.6994 | 3.6994 | 3.6994 | 8.4832 | 4.7838 | 265.3826 | 3.6994 | 3.6994 | 14.85 | 14.85
19 | 287 | 289 | 65.8 | 3440 | 3.4145 | 261.6473 | 3.4145 | 3.4145 | 3.4145 | 3.4145 | 7.8848 | 4.4703 | 261.6473 | 3.4145 | 3.4145 | 13.85 | 13.85
20 | 288 | 290 | 62.8 | 3270 | 3.9142 | 286.2658 | 3.9142 | 3.9142 | 3.9142 | 3.9142 | 8.6275 | 4.7132 | 286.2658 | 3.9142 | 3.9142 | 14.85 | 14.85
21 | 288 | 290 | 62.6 | 3020 | 3.8794 | 282.8129 | 3.8794 | 3.8794 | 3.8794 | 3.8794 | 8.5572 | 4.6778 | 282.8129 | 3.8794 | 3.8794 | 14.85 | 14.85
22 | 287 | 289 | 65.8 | 3440 | 3.4145 | 261.6473 | 3.4145 | 3.4145 | 3.4145 | 3.4145 | 7.8848 | 4.4703 | 261.6473 | 3.4145 | 3.4145 | 13.85 | 13.85
23 | 288 | 290 | 62.9 | 3240 | 3.9317 | 288.0028 | 3.9317 | 3.9317 | 3.9317 | 3.9317 | 8.6627 | 4.731 | 288.0028 | 3.9317 | 3.9317 | 14.85 | 14.85
24 | 288 | 290 | 62.9 | 3240 | 3.9317 | 288.0028 | 3.9317 | 3.9317 | 3.9317 | 3.9317 | 8.6627 | 4.731 | 288.0028 | 3.9317 | 3.9317 | 14.85 | 14.85
25 | 288 | 289 | 61 | 3590 | 3.5917 | 255.1477 | 3.5917 | 3.5917 | 3.5917 | 3.5917 | 8.9546 | 5.3629 | 255.1477 | 3.5917 | 3.5917 | 14.85 | 14.85
26 | 288 | 290 | 67.1 | 3220 | 4.4118 | 344.746 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 344.746 | 4.4118 | 4.4118 | 14.85 | 14.85
27 | 287 | 290 | 61.6 | 3470 | 2.7027 | 193.8817 | 2.7027 | 2.7027 | 2.7027 | 2.7027 | 7.2828 | 4.5801 | 193.8817 | 2.7027 | 2.7027 | 13.85 | 13.85
28 | 288 | 290 | 64.5 | 3240 | 4.2041 | 315.7922 | 4.2041 | 4.2041 | 4.2041 | 4.2041 | 9.2082 | 5.0041 | 315.7922 | 4.2041 | 4.2041 | 14.85 | 14.85
29 | 288 | 289 | 68.1 | 3970 | 4.4118 | 349.8838 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 349.8838 | 4.4118 | 4.4118 | 14.85 | 14.85
30 | 287 | 289 | 63.6 | 3270 | 3.05 | 225.9004 | 3.05 | 3.05 | 3.05 | 3.05 | 8.5786 | 5.5287 | 225.9004 | 3.05 | 3.05 | 13.85 | 13.85
31 | 288 | 289 | 63.6 | 3270 | 4.054 | 300.2618 | 4.054 | 4.054 | 4.054 | 4.054 | 8.9082 | 4.8543 | 300.2618 | 4.054 | 4.054 | 14.85 | 14.85
32 | 287 | 290 | 63.6 | 3760 | 3.05 | 225.9004 | 3.05 | 3.05 | 3.05 | 3.05 | 8.5786 | 5.5287 | 225.9004 | 3.05 | 3.05 | 13.85 | 13.85
33 | 288 | 290 | 63.9 | 3970 | 4.1042 | 305.4184 | 4.1042 | 4.1042 | 4.1042 | 4.1042 | 9.0088 | 4.9046 | 305.4184 | 4.1042 | 4.1042 | 14.85 | 14.85
34 | 288 | 290 | 64 | 79.7 | 4.1208 | 307.1339 | 4.1208 | 4.1208 | 4.1208 | 4.1208 | 9.3545 | 5.2337 | 307.1339 | 4.1208 | 4.1208 | 14.85 | 14.85
35 | 288 | 289 | 64.1 | 79.7 | 4.1374 | 308.8494 | 4.1374 | 4.1374 | 4.1374 | 4.1374 | 9.0751 | 4.9377 | 308.8494 | 4.1374 | 4.1374 | 14.85 | 14.85
36 | 288 | 289 | 64.1 | 81.4 | 4.1374 | 308.8494 | 4.1374 | 4.1374 | 4.1374 | 4.1374 | 9.0751 | 4.9377 | 308.8494 | 4.1374 | 4.1374 | 14.85 | 14.85
37 | 288 | 289 | 67 | 3270 | 4.4118 | 344.2322 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 344.2322 | 4.4118 | 4.4118 | 14.85 | 14.85
38 | 287 | 289 | 65.7 | 4040 | 3.3988 | 260.0499 | 3.3988 | 3.3988 | 3.3988 | 3.3988 | 8.9407 | 5.5419 | 260.0499 | 3.3988 | 3.3988 | 13.85 | 13.85
39 | 288 | 290 | 63.9 | 492 | 4.1042 | 305.4184 | 4.1042 | 4.1042 | 4.1042 | 4.1042 | 9.0088 | 4.9046 | 305.4184 | 4.1042 | 4.1042 | 14.85 | 14.85
40 | 288 | 290 | 63.9 | 492 | 4.1042 | 305.4184 | 4.1042 | 4.1042 | 4.1042 | 4.1042 | 9.0088 | 4.9046 | 305.4184 | 4.1042 | 4.1042 | 14.85 | 14.85
41 | 288 | 290 | 65.9 | 3780 | 4.4118 | 338.5806 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 338.5806 | 4.4118 | 4.4118 | 14.85 | 14.85
42 | 288 | 289 | 65.7 | 3370 | 4.3948 | 336.258 | 4.3948 | 4.3948 | 4.3948 | 4.3948 | 9.5731 | 5.1783 | 336.258 | 4.3948 | 4.3948 | 14.85 | 14.85
43 | 287 | 290 | 69.2 | 2740 | 3.9259 | 316.3802 | 3.9259 | 3.9259 | 3.9259 | 3.9259 | 8.651 | 4.7251 | 316.3802 | 3.9259 | 3.9259 | 13.85 | 13.85
44 | 288 | 289 | 64.4 | 75.1 | 4.1874 | 314.0498 | 4.1874 | 4.1874 | 4.1874 | 4.1874 | 9.175 | 4.9875 | 314.0498 | 4.1874 | 4.1874 | 14.85 | 14.85
45 | 288 | 289 | 64.4 | 79.3 | 4.1874 | 314.0498 | 4.1874 | 4.1874 | 4.1874 | 4.1874 | 9.175 | 4.9875 | 314.0498 | 4.1874 | 4.1874 | 14.85 | 14.85
46 | 288 | 290 | 64.4 | 75.2 | 4.1874 | 314.0498 | 4.1874 | 4.1874 | 4.1874 | 4.1874 | 9.175 | 4.9875 | 314.0498 | 4.1874 | 4.1874 | 14.85 | 14.85
47 | 288 | 289 | 66.3 | 76.2 | 4.4118 | 340.6358 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 340.6358 | 4.4118 | 4.4118 | 14.85 | 14.85
48 | 288 | 289 | 64.8 | 75.1 | 4.2534 | 320.9803 | 4.2534 | 4.2534 | 4.2534 | 4.2534 | 9.3063 | 5.0529 | 320.9803 | 4.2534 | 4.2534 | 14.85 | 14.85
49 | 288 | 289 | 67.8 | 4060 | 4.4118 | 348.3424 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 348.3424 | 4.4118 | 4.4118 | 14.85 | 14.85
50 | 288 | 289 | 65.2 | 3740 | 4.3173 | 327.8111 | 4.3173 | 4.3173 | 4.3173 | 4.3173 | 9.4331 | 5.1158 | 327.8111 | 4.3173 | 4.3173 | 14.85 | 14.85
51 | 288 | 289 | 63.4 | 75 | 4.0193 | 296.7593 | 4.0193 | 4.0193 | 4.0193 | 4.0193 | 8.8387 | 4.8194 | 296.7593 | 4.0193 | 4.0193 | 14.85 | 14.85
52 | 288 | 290 | 66.3 | 728 | 4.4118 | 340.6357 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 340.6357 | 4.4118 | 4.4118 | 14.85 | 14.85
53 | 288 | 289 | 62.5 | 468 | 3.8614 | 281.0526 | 3.8614 | 3.8614 | 3.8614 | 3.8614 | 8.5209 | 4.6595 | 281.0526 | 3.8614 | 3.8614 | 14.85 | 14.85
54 | 288 | 290 | 64.6 | 764 | 4.2208 | 317.5346 | 4.2208 | 4.2208 | 4.2208 | 4.2208 | 9.2414 | 5.0206 | 317.5346 | 4.2208 | 4.2208 | 14.85 | 14.85
55 | 288 | 289 | 62.4 | 419 | 3.8434 | 279.2923 | 3.8434 | 3.8434 | 3.8434 | 3.8434 | 8.4845 | 4.6411 | 279.2923 | 3.8434 | 3.8434 | 14.85 | 14.85
56 | 288 | 289 | 62.4 | 411 | 3.8434 | 279.2923 | 3.8434 | 3.8434 | 3.8434 | 3.8434 | 8.4845 | 4.6411 | 279.2923 | 3.8434 | 3.8434 | 14.85 | 14.85
57 | 288 | 289 | 69.8 | 411 | 4.4118 | 358.618 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 358.618 | 4.4118 | 4.4118 | 14.85 | 14.85
58 | 288 | 290 | 68.5 | 557 | 4.4118 | 351.9389 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 351.9389 | 4.4118 | 4.4118 | 14.85 | 14.85
59 | 288 | 290 | 60.9 | 1870 | 3.5735 | 253.4436 | 3.5735 | 3.5735 | 3.5735 | 3.5735 | 7.9362 | 4.3627 | 253.4436 | 3.5735 | 3.5735 | 14.85 | 14.85
60 | 288 | 290 | 60.3 | 943 | 3.4616 | 243.0873 | 3.4616 | 3.4616 | 3.4616 | 3.4616 | 8.3004 | 4.8388 | 243.0873 | 3.4616 | 3.4616 | 14.85 | 14.85
61 | 288 | 290 | 60.3 | 943 | 3.4616 | 243.0873 | 3.4616 | 3.4616 | 3.4616 | 3.4616 | 8.3004 | 4.8388 | 243.0873 | 3.4616 | 3.4616 | 14.85 | 14.85
62 | 288 | 289 | 67.8 | 975 | 4.4118 | 348.3424 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 348.3424 | 4.4118 | 4.4118 | 14.85 | 14.85
63 | 288 | 289 | 66.4 | 2590 | 4.4118 | 341.1495 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 341.1495 | 4.4118 | 4.4118 | 14.85 | 14.85
64 | 288 | 289 | 70 | 747 | 4.4118 | 359.6456 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 359.6456 | 4.4118 | 4.4118 | 14.85 | 14.85
65 | 288 | 289 | 61.2 | 1010 | 3.6278 | 258.5557 | 3.6278 | 3.6278 | 3.6278 | 3.6278 | 7.7932 | 4.1654 | 258.5557 | 3.6278 | 3.6278 | 14.85 | 14.85
66 | 288 | 290 | 63.1 | 748 | 3.9669 | 291.5054 | 3.9669 | 3.9669 | 3.9669 | 3.9669 | 8.7335 | 4.7666 | 291.5054 | 3.9669 | 3.9669 | 14.85 | 14.85
67 | 287 | 289 | 67 | 3000 | 3.6 | 280.8937 | 3.6 | 3.6 | 3.6 | 3.6 | 8.2753 | 4.6753 | 280.8937 | 3.6 | 3.6 | 13.85 | 13.85
68 | 288 | 290 | 67.8 | 3110 | 4.4118 | 348.3424 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 348.3424 | 4.4118 | 4.4118 | 14.85 | 14.85
69 | 286 | 289 | 73.8 | 2510 | 3.5458 | 304.7445 | 3.5458 | 3.5458 | 3.5458 | 3.5458 | 7.6299 | 4.0841 | 304.7445 | 3.5458 | 3.5458 | 12.85 | 12.85
70 | 288 | 289 | 68.7 | 2390 | 4.4118 | 352.9665 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 352.9665 | 4.4118 | 4.4118 | 14.85 | 14.85
71 | 288 | 289 | 61.2 | 270 | 3.6278 | 258.5557 | 3.6278 | 3.6278 | 3.6278 | 3.6278 | 7.7932 | 4.1654 | 258.5557 | 3.6278 | 3.6278 | 14.85 | 14.85
72 | 288 | 289 | 60.2 | 975 | 3.443 | 241.3747 | 3.443 | 3.443 | 3.443 | 3.443 | 7.9449 | 4.502 | 241.3747 | 3.443 | 3.443 | 14.85 | 14.85
73 | 288 | 289 | 61.2 | 979 | 3.6278 | 258.5557 | 3.6278 | 3.6278 | 3.6278 | 3.6278 | 7.7932 | 4.1654 | 258.5557 | 3.6278 | 3.6278 | 14.85 | 14.85
74 | 288 | 289 | 68.9 | 1320 | 4.4118 | 353.994 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 353.994 | 4.4118 | 4.4118 | 14.85 | 14.85
75 | 288 | 289 | 68.9 | 1320 | 4.4118 | 353.994 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 353.994 | 4.4118 | 4.4118 | 14.85 | 14.85
76 | 288 | 289 | 68.9 | 2770 | 4.4118 | 353.994 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 353.994 | 4.4118 | 4.4118 | 14.85 | 14.85
77 | 288 | 289 | 68.7 | 2770 | 4.4118 | 352.9665 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 352.9665 | 4.4118 | 4.4118 | 14.85 | 14.85
78 | 288 | 289 | 71.7 | 2770 | 4.4118 | 368.3798 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 368.3798 | 4.4118 | 4.4118 | 14.85 | 14.85
79 | 288 | 289 | 62.4 | 1450 | 3.8434 | 279.2923 | 3.8434 | 3.8434 | 3.8434 | 3.8434 | 8.4845 | 4.6411 | 279.2923 | 3.8434 | 3.8434 | 14.85 | 14.85
80 | 287 | 289 | 63.4 | 209 | 3.0151 | 222.6186 | 3.0151 | 3.0151 | 3.0151 | 3.0151 | 8.4922 | 5.4771 | 222.6186 | 3.0151 | 3.0151 | 13.85 | 13.85
81 | 287 | 290 | 63.5 | 1320 | 3.0326 | 224.2595 | 3.0326 | 3.0326 | 3.0326 | 3.0326 | 6.8182 | 3.7856 | 224.2595 | 3.0326 | 3.0326 | 13.85 | 13.85
82 | 288 | 289 | 68.8 | 812 | 4.4118 | 353.4802 | 4.4118 | 4.4118 | 4.4118 | 4.4118 | 9.5842 | 5.1724 | 353.4802 | 4.4118 | 4.4118 | 14.85 | 14.85
83 | 288 | 290 | 64 | 1320 | 4.1208 | 307.1339 | 4.1208 | 4.1208 | 4.1208 | 4.1208 | 9.3545 | 5.2337 | 307.1339 | 4.1208 | 4.1208 | 14.85 | 14.85
84 | 288 | 290 | 64 | 1320 | 4.1208 | 307.1339 | 4.1208 | 4.1208 | 4.1208 | 4.1208 | 9.3545 | 5.2337 | 307.1339 | 4.1208 | 4.1208 | 14.85 | 14.85
85 | 287 | 290 | 60.3 | 152 | 2.462 | 172.8915 | 2.462 | 2.462 | 2.462 | 2.462 | 8.906 | 6.4439 | 172.8915 | 2.462 | 2.462 | 13.85 | 13.85
86 | 287 | 289 | 64.5 | 1440 | 3.2032 | 240.6103 | 3.2032 | 3.2032 | 3.2032 | 3.2032 | 6.942 | 3.7387 | 240.6103 | 3.2032 | 3.2032 | 13.85 | 13.85
87 | 288 | 289 | 64.5 | 1450 | 4.2041 | 315.7922 | 4.2041 | 4.2041 | 4.2041 | 4.2041 | 9.2082 | 5.0041 | 315.7922 | 4.2041 | 4.2041 | 14.85 | 14.85
88 | 287 | 289 | 69.8 | 1450 | 4.0127 | 326.1774 | 4.0127 | 4.0127 | 4.0127 | 4.0127 | 9.1325 | 5.1198 | 326.1774 | 4.0127 | 4.0127 | 13.85 | 13.85
89 | 287 | 289 | 65.1 | 1350 | 3.3023 | 250.3578 | 3.3023 | 3.3023 | 3.3023 | 3.3023 | 8.7152 | 5.4129 | 250.3578 | 3.3023 | 3.3023 | 13.85 | 13.85
90 | 288 | 289 | 65.3 | 1380 | 4.3331 | 329.5188 | 4.3331 | 4.3331 | 4.3331 | 4.3331 | 9.4645 | 5.1314 | 329.5188 | 4.3331 | 4.3331 | 14.85 | 14.85
91 | 288 | 290 | 61.7 | 1520 | 3.7173 | 267.1027 | 3.7173 | 3.7173 | 3.7173 | 3.7173 | 8.8754 | 5.1581 | 267.1027 | 3.7173 | 3.7173 | 14.85 | 14.85
92 | 288 | 290 | 65.5 | 1530 | 4.3647 | 332.9341 | 4.3647 | 4.3647 | 4.3647 | 4.3647 | 9.527 | 5.1623 | 332.9341 | 4.3647 | 4.3647 | 14.85 | 14.85
93 | 288 | 289 | 65.8 | 1100 | 4.4084 | 337.8118 | 4.4084 | 4.4084 | 4.4084 | 4.4084 | 9.582 | 5.1736 | 337.8118 | 4.4084 | 4.4084 | 14.85 | 14.85
94 | 287 | 289 | 64.4 | 2830 | 3.1868 | 239.0052 | 3.1868 | 3.1868 | 3.1868 | 3.1868 | 8.9162 | 5.7293 | 239.0052 | 3.1868 | 3.1868 | 13.85 | 13.85
95 | 287 | 290 | 62.1 | 1330 | 2.7916 | 201.8874 | 2.7916 | 2.7916 | 2.7916 | 2.7916 | 5.9175 | 3.1259 | 201.8874 | 2.7916 | 2.7916 | 13.85 | 13.85
96 | 287 | 290 | 63 | 1500 | 2.9472 | 216.2266 | 2.9472 | 2.9472 | 2.9472 | 2.9472 | 7.168 | 4.2209 | 216.2266 | 2.9472 | 2.9472 | 13.85 | 13.85