## Raw_Data
| chiller_evap_return_temp_time_step_0 | chiller_cond_entry_temp_time_step_0 | total_evap_nwk_flowrate_time_step_0 | total_cond_nwk_flowrate_time_step_0 | sp1_temp_t_inout_time_step_0 | sp2_temp_t_inout_time_step_0 | ch1_1_evap_m_perc_time_step_0 | ch1_1_evap_t_out_time_step_0 | ch1_2_evap_m_perc_time_step_0 | ch1_2_evap_t_out_time_step_0 | ch1_3_evap_m_perc_time_step_0 | ch1_3_evap_t_out_time_step_0 | ch1_4_evap_m_perc_time_step_0 | ch1_4_evap_t_out_time_step_0 | ch2_1_evap_m_perc_time_step_0 | ch2_1_evap_t_out_time_step_0 | ch2_2_evap_m_perc_time_step_0 | ch2_2_evap_t_out_time_step_0 | ch2_3_evap_m_perc_time_step_0 | ch2_3_evap_t_out_time_step_0 | ch2_4_evap_m_perc_time_step_0 | ch2_4_evap_t_out_time_step_0 | gv2_ss_m_perc_time_step_0 | gv2_ss_t_in_time_step_0 | hsb_ss_m_perc_time_step_0 | hsb_ss_t_in_time_step_0 | pfa_ss_m_perc_time_step_0 | pfa_ss_t_in_time_step_0 | cp_nwk_m_perc_time_step_0 | cp_nwk_tinout_time_step_0 | ch_evap_ret_t_in_time_step_0 | ch_e_f_c_mass_flow_time_step_0 | sp1_temp_y_time_step_0 | sp2_temp_y_time_step_0 | ch_evap_ret_y_time_step_0 | ch_e_f_c_y_time_step_0 | ch1_1_evap_y_time_step_0 | ch1_2_evap_y_time_step_0 | ch1_3_evap_y_time_step_0 | ch1_4_evap_y_time_step_0 | ch2_1_evap_y_time_step_0 | ch2_2_evap_y_time_step_0 | ch2_3_evap_y_time_step_0 | ch2_4_evap_y_time_step_0 | gv2_ss_y_time_step_0 | hsb_ss_y_time_step_0 | pfa_ss_y_time_step_0 | cp_nwk_y_time_step_0 | Obj_Value_time_step_0 | chiller_evap_return_temp_time_step_1 | chiller_cond_entry_temp_time_step_1 | total_evap_nwk_flowrate_time_step_1 | total_cond_nwk_flowrate_time_step_1 | sp1_temp_t_inout_time_step_1 | sp2_temp_t_inout_time_step_1 | ch1_1_evap_m_perc_time_step_1 | ch1_1_evap_t_out_time_step_1 | ch1_2_evap_m_perc_time_step_1 | ch1_2_evap_t_out_time_step_1 | ch1_3_evap_m_perc_time_step_1 | ch1_3_evap_t_out_time_step_1 | ch1_4_evap_m_perc_time_step_1 | ch1_4_evap_t_out_time_step_1 | ch2_1_evap_m_perc_time_step_1 | ch2_1_evap_t_out_time_step_1 | ch2_2_evap_m_perc_time_step_1 | ch2_2_evap_t_out_time_step_1 | ch2_3_evap_m_perc_time_step_1 | ch2_3_evap_t_out_time_step_1 | ch2_4_evap_m_perc_time_step_1 | ch2_4_evap_t_out_time_step_1 | gv2_ss_m_perc_time_step_1 | gv2_ss_t_in_time_step_1 | hsb_ss_m_perc_time_step_1 | hsb_ss_t_in_time_step_1 | pfa_ss_m_perc_time_step_1 | pfa_ss_t_in_time_step_1 | cp_nwk_m_perc_time_step_1 | cp_nwk_tinout_time_step_1 | ch_evap_ret_t_in_time_step_1 | ch_e_f_c_mass_flow_time_step_1 | sp1_temp_y_time_step_1 | sp2_temp_y_time_step_1 | ch_evap_ret_y_time_step_1 | ch_e_f_c_y_time_step_1 | ch1_1_evap_y_time_step_1 | ch1_2_evap_y_time_step_1 | ch1_3_evap_y_time_step_1 | ch1_4_evap_y_time_step_1 | ch2_1_evap_y_time_step_1 | ch2_2_evap_y_time_step_1 | ch2_3_evap_y_time_step_1 | ch2_4_evap_y_time_step_1 | gv2_ss_y_time_step_1 | hsb_ss_y_time_step_1 | pfa_ss_y_time_step_1 | cp_nwk_y_time_step_1 | Obj_Value_time_step_1 | chiller_evap_return_temp_time_step_2 | chiller_cond_entry_temp_time_step_2 | total_evap_nwk_flowrate_time_step_2 | total_cond_nwk_flowrate_time_step_2 | sp1_temp_t_inout_time_step_2 | sp2_temp_t_inout_time_step_2 | ch1_1_evap_m_perc_time_step_2 | ch1_1_evap_t_out_time_step_2 | ch1_2_evap_m_perc_time_step_2 | ch1_2_evap_t_out_time_step_2 | ch1_3_evap_m_perc_time_step_2 | ch1_3_evap_t_out_time_step_2 | ch1_4_evap_m_perc_time_step_2 | ch1_4_evap_t_out_time_step_2 | ch2_1_evap_m_perc_time_step_2 | ch2_1_evap_t_out_time_step_2 | ch2_2_evap_m_perc_time_step_2 | ch2_2_evap_t_out_time_step_2 | ch2_3_evap_m_perc_time_step_2 | ch2_3_evap_t_out_time_step_2 | ch2_4_evap_m_perc_time_step_2 | ch2_4_evap_t_out_time_step_2 | gv2_ss_m_perc_time_step_2 | gv2_ss_t_in_time_step_2 | hsb_ss_m_perc_time_step_2 | hsb_ss_t_in_time_step_2 | pfa_ss_m_perc_time_step_2 | pfa_ss_t_in_time_step_2 | cp_nwk_m_perc_time_step_2 | cp_nwk_tinout_time_step_2 | ch_evap_ret_t_in_time_step_2 | ch_e_f_c_mass_flow_time_step_2 | sp1_temp_y_time_step_2 | sp2_temp_y_time_step_2 | ch_evap_ret_y_time_step_2 | ch_e_f_c_y_time_step_2 | ch1_1_evap_y_time_step_2 | ch1_2_evap_y_time_step_2 | ch1_3_evap_y_time_step_2 | ch1_4_evap_y_time_step_2 | ch2_1_evap_y_time_step_2 | ch2_2_evap_y_time_step_2 | ch2_3_evap_y_time_step_2 | ch2_4_evap_y_time_step_2 | gv2_ss_y_time_step_2 | hsb_ss_y_time_step_2 | pfa_ss_y_time_step_2 | cp_nwk_y_time_step_2 | Obj_Value_time_step_2 | Obj_Value_Overall
0 | 276.3409 | 293.0397 | 1627.8608 | 528.5301 | 0.074468 | 0.10636 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.56326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 529.7718 | 276.3409 | 293.0397 | 1627.8608 | 528.5301 | 0.068902 | 0.10636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.48704 | 0 | 0 | 0 | 0 | 0.26677 | 0.26677 | 0.2689 | 0.26677 | 0.33323 | 0.26677 | 0.1311 | 0.068902 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 615.6997 | 276.3409 | 293.0397 | 1627.8608 | 528.5301 | 0.074468 | 0.10636 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.56326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 529.7718 | 1675.2433
1 | 276.3473 | 291.3319 | 1626.9573 | 528.7539 | 0.074468 | 0.10658 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.56163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 513.4097 | 276.2901 | 293.0954 | 1627.8608 | 528.5301 | 0.067237 | 0.10467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.47526 | 0 | 0 | 0 | 0 | 0.26724 | 0.25428 | 0.25428 | 0.25428 | 0.34572 | 0.25428 | 0.13276 | 0.067237 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 616.3582 | 276.2774 | 293.6337 | 1627.7296 | 528.5301 | 0.074468 | 0.10425 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.58007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 488.0275 | 1617.7954
2 | 276.7536 | 291.0163 | 1626.95 | 528.8099 | 0.074468 | 0.12012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.47398 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 665.9373 | 276.2965 | 297.8475 | 1627.8608 | 528.658 | 0.067445 | 0.10488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.47676 | 0 | 0 | 0 | 0 | 0.26745 | 0.25584 | 0.34416 | 0.25584 | 0.25584 | 0.25584 | 0.13255 | 0.067445 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 658.5904 | 275.4648 | 293.6708 | 1627.8389 | 790.428 | 0.066697 | 0.077158 | 0 | 0 | 1 | 0.7613 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.34977 | 0.25023 | 0.25023 | 0.25023 | 0.2667 | 0.25023 | 0.1333 | 0.066697 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 182.3007 | 1506.8284
3 | 276.3727 | 290.9235 | 1627.8753 | 528.2743 | 0.074468 | 0.10742 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.55521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 527.6993 | 276.2901 | 293.0582 | 1508.4126 | 33.7115 | 0.064279 | 0.10467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.43379 | 0 | 0 | 0 | 0 | 0.32846 | 0.23209 | 0.26791 | 0.23209 | 0.26791 | 0.23209 | 0.13572 | 0.064279 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 615.9756 | 278.3599 | 289.9953 | 242.9574 | 167.9418 | 0.074468 | 0.17366 | 0 | 0 | 1 | 0.29313 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 182.637 | 1326.3119
4 | 275.7441 | 290.1531 | 1508.2378 | 7.9398 | 0.065256 | 0.08647 | 0 | 0 | 0 | 0 | 1 | 0.60076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3441 | 0.23942 | 0.26058 | 0.23942 | 0.26058 | 0.23942 | 0.13474 | 0.065256 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 267.985 | 276.2901 | 290.7193 | 1135.9332 | 530.0729 | 0.050481 | 0.10467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.24038 | 0 | 0 | 0 | 0 | 0.17139 | 0.12861 | 0.27139 | 0.12861 | 0.37139 | 0.12861 | 0.18583 | 0.050481 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 598.5879 | 275.3124 | 292.4457 | 1627.7879 | 1054.5721 | 0.061701 | 0.072079 | 0 | 0 | 1 | 0.73214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28724 | 0.21276 | 0.28724 | 0.21276 | 0.28721 | 0.21276 | 0.1383 | 0.061701 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 174.5831 | 1041.156
5 | 275.6933 | 290.1346 | 1515.6404 | 73.4242 | 0.063665 | 0.084777 | 0 | 0 | 0 | 0 | 1 | 0.58961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27251 | 0.22749 | 0.31864 | 0.22749 | 0.27251 | 0.22749 | 0.13634 | 0.063665 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 268.3312 | 276.2901 | 290.1717 | 1135.7 | 530.1208 | 0.050471 | 0.10467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.24023 | 0 | 0 | 0 | 0 | 0.27147 | 0.12853 | 0.17147 | 0.12853 | 0.37147 | 0.12853 | 0.18559 | 0.050471 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 593.671 | 275.7314 | 292.4364 | 1628.2542 | 1578.4639 | 0.074348 | 0.086047 | 1.23e-12 | -1.43e-13 | 1 | 0.77807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30761 | 0.30761 | 0.30761 | 0.30761 | 0.30761 | 0.30761 | 0.077162 | 0.074348 | 1 | 1 | 1 | 1 | 1 | 1 | 9.7e-13 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 186.6042 | 1048.6063
6 | 275.6679 | 290.1346 | 1515.6404 | 73.4242 | 0.062832 | 0.083931 | 0 | 0 | 5.35e-10 | 3.26e-10 | 1 | 0.58301 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27876 | 0.22124 | 0.27876 | 0.22124 | 0.30532 | 0.22124 | 0.13717 | 0.062832 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 5.08e-10 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 268.3611 | 276.2901 | 290.1717 | 1135.6854 | 4.4545 | 0.05047 | 0.10467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.24022 | 0 | 0 | 0 | 0 | 0.17148 | 0.12852 | 0.17148 | 0.12852 | 0.17148 | 0.12852 | 0.48557 | 0.05047 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 593.6709 | 275.6362 | 293.6615 | 1628.2834 | 1841.4249 | 0.072261 | 0.082872 | 0 | 0 | 1 | 0.7858 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29196 | 0.29196 | 0.29196 | 0.29196 | 0.29196 | 0.29196 | 0.12412 | 0.072261 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 182.8501 | 1044.8821
7 | 275.2616 | 290.1531 | 1515.6331 | 73.4242 | 0.048945 | 0.070386 | 0 | 0 | 0 | 0 | 1 | 0.42132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18292 | 0.11708 | 0.28292 | 0.11708 | 0.18292 | 0.11708 | 0.35125 | 0.048945 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 277.6562 | 276.2901 | 289.5962 | 1135.4231 | 6.5009 | 0.050458 | 0.10467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.24005 | 0 | 0 | 0 | 0 | 0.17157 | 0.12843 | 0.17157 | 0.12843 | 0.37157 | 0.12843 | 0.2853 | 0.050458 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 588.5039 | 275.6108 | 293.0675 | 1627.8098 | 1841.4329 | 0.071485 | 0.082026 | 0 | 0 | 1 | 0.78352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28614 | 0.28614 | 0.29921 | 0.28614 | 0.28614 | 0.28614 | 0.12852 | 0.071485 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 178.3818 | 1044.542
8 | 275.2616 | 289.5591 | 1508.1868 | 73.4242 | 0.048832 | 0.070386 | 0 | 0 | 0 | 0 | 1 | 0.41829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18376 | 0.11624 | 0.48131 | 0.11624 | 0.28376 | 0.11624 | 0.051168 | 0.048832 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 272.5276 | 276.2393 | 290.1902 | 1135.4523 | 6.405 | 0.048796 | 0.10298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.22203 | 0 | 0 | 0 | 0 | 0.18403 | 0.11597 | 0.18074 | 0.11597 | 0.18403 | 0.11597 | 0.4512 | 0.048796 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 594.0735 | 275.5854 | 291.8795 | 1627.8098 | 1849.0749 | 0.070652 | 0.081179 | 2.46e-12 | 2.01e-12 | 1 | 0.77998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31087 | 0.27989 | 0.27989 | 0.27989 | 0.27989 | 0.27989 | 0.12935 | 0.070652 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 170.8118 | 1037.4133
9 | 275.9282 | 290.051 | 1433.3513 | 588.2751 | 0.070141 | 0.092608 | 0 | 0 | -2.79e-12 | -6.31e-13 | 1 | 0.62097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31803 | 0.27605 | 0.27605 | 0.27605 | 0.27605 | 0.27605 | 0.12986 | 0.070141 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 267.4164 | 276.0298 | 290.8028 | 1881.1398 | 1048.7927 | 0.063732 | 0.095994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.48514 | 0 | 0 | 0 | 0 | 0.27201 | 0.22799 | 0.31971 | 0.22799 | 0.27201 | 0.22799 | 0.13627 | 0.063732 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 596.7691 | 275.7251 | 291.9909 | 615.7428 | 2.3681 | 0.057245 | 0.085835 | 0 | 0 | 1 | 0.45545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22066 | 0.17934 | 0.22066 | 0.17934 | 0.21593 | 0.17934 | 0.34275 | 0.057245 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 173.781 | 1037.9665
10 | 276.4107 | 293.0675 | 524.8634 | 2363.5421 | 0.046201 | 0.10869 | 0 | 0 | 0 | 0 | 1 | 0.17076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10349 | 0.096509 | 0.30349 | 0.096509 | 0.53922 | 0.096509 | 0.053799 | 0.046201 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 295.3059 | 275.2171 | 290.8028 | 1881.6061 | 1048.7927 | 0.03674 | 0.068905 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.095776 | 0 | 0 | 0 | 0 | 0.27445 | 0.025552 | 0.28784 | 0.025552 | 0.074448 | 0.025552 | 0.36326 | 0.03674 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 602.543 | 275.6235 | 291.8609 | 623.2038 | 0.31376 | 0.053883 | 0.082449 | 0 | 0 | 1 | 0.41839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.24588 | 0.15412 | 0.24588 | 0.15412 | 0.16213 | 0.15412 | 0.34612 | 0.053883 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 174.9987 | 1072.8476
11 | 275.9219 | 289.8097 | 1208.7066 | 335.3781 | 0.065795 | 0.092396 | 0 | 0 | 0 | 0 | 1 | 0.54961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25654 | 0.24346 | 0.25272 | 0.24346 | 0.25654 | 0.24346 | 0.23421 | 0.065795 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 264.8692 | 276.3409 | 290.1346 | 1703.8692 | 1416.8471 | 0.070569 | 0.10636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.50986 | 0 | 0 | 0 | 0 | 0.31204 | 0.27927 | 0.27927 | 0.27927 | 0.27927 | 0.27927 | 0.12943 | 0.070569 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 589.8996 | 275.6425 | 289.5498 | 485.8537 | 3.5672 | 0.046373 | 0.083084 | 0 | 0 | 1 | 0.2621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1022 | 0.097798 | 0.34197 | 0.097798 | 0.1022 | 0.097798 | 0.45363 | 0.046373 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 160.0993 | 1014.8681
12 | 275.5409 | 290.181 | 1208.7066 | 333.8433 | 0.052649 | 0.079698 | 0 | 0 | 0 | 0 | 1 | 0.4166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35513 | 0.14487 | 0.25513 | 0.14487 | 0.25513 | 0.14487 | 0.1346 | 0.052649 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 277.1959 | 276.3282 | 290.1253 | 1465.0385 | 1433.2182 | 0.064334 | 0.10594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.42697 | 0 | 0 | 0 | 0 | 0.26749 | 0.23251 | 0.26749 | 0.23251 | 0.32935 | 0.23251 | 0.13567 | 0.064334 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 589.7346 | 275.5917 | 289.587 | 486.6115 | 266.0167 | 0.044947 | 0.081391 | 0 | 0 | 1 | 0.24165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2129 | 0.0871 | 0.2129 | 0.0871 | 0.11915 | 0.0871 | 0.45505 | 0.044947 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 160.0243 | 1026.9548
13 | 275.4394 | 290.3666 | 1792.2641 | 2658.9256 | 0.05844 | 0.076312 | 0 | 0 | 0 | 0 | 1 | 0.58416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2117 | 0.1883 | 0.23503 | 0.1883 | 0.2117 | 0.1883 | 0.34156 | 0.05844 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 273.1034 | 275.9663 | 290.7843 | 1894.6045 | 1836.7646 | 0.06188 | 0.093877 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.47151 | 0 | 0 | 0 | 0 | 0.2859 | 0.2141 | 0.2859 | 0.2141 | 0.29008 | 0.2141 | 0.13812 | 0.06188 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 596.7622 | 275.4203 | 289.4384 | 1550.5335 | 1352.8974 | 0.0647 | 0.075677 | 0 | 0 | 1 | 0.74076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26475 | 0.23525 | 0.3352 | 0.23525 | 0.26475 | 0.23525 | 0.1353 | 0.0647 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 155.5823 | 1025.4479
14 | 276.3727 | 291.4989 | 956.1853 | 1508.471 | 0.073089 | 0.10742 | 0 | 0 | 0 | 0 | 1 | 0.53659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29817 | 0.29817 | 0.29817 | 0.29817 | 0.29817 | 0.29817 | 0.1055 | 0.073089 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 282.1492 | 276.3282 | 289.8376 | 1480.0187 | 1404.0651 | 0.064757 | 0.10594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.43279 | 0 | 0 | 0 | 0 | 0.23611 | 0.23568 | 0.26432 | 0.23568 | 0.26432 | 0.23568 | 0.23524 | 0.064757 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 587.1614 | 275.6806 | 289.6612 | 609.4986 | 329.4308 | 0.055275 | 0.084354 | 0 | 0 | 1 | 0.43006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23544 | 0.16456 | 0.33544 | 0.16456 | 0.2844 | 0.16456 | 0.14472 | 0.055275 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 159.8287 | 1029.1393
15 | 275.9663 | 290.0325 | 1194.1199 | 1378.6531 | 0.066864 | 0.093877 | 0 | 0 | 0 | 0 | 1 | 0.55383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.34852 | 0.25148 | 0.26686 | 0.25148 | 0.25148 | 0.25148 | 0.13314 | 0.066864 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 267.4284 | 276.0743 | 289.5777 | 1655.7592 | 1345.8309 | 0.060623 | 0.097475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.42545 | 0 | 0 | 0 | 0 | 0.29533 | 0.20467 | 0.29533 | 0.20467 | 0.26996 | 0.20467 | 0.13938 | 0.060623 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 587.2964 | 275.4394 | 290.1717 | 604.2672 | 59.8269 | 0.046798 | 0.076312 | 0 | 0 | 1 | 0.31328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19902 | 0.10098 | 0.19902 | 0.10098 | 0.44876 | 0.10098 | 0.1532 | 0.046798 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 165.5167 | 1020.2415
16 | 275.4267 | 290.2088 | 955.2454 | 1394.9043 | 0.041848 | 0.075889 | 0 | 0 | 0 | 0 | 1 | 0.2001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13614 | 0.063864 | 0.53614 | 0.063864 | 0.069576 | 0.063864 | 0.25815 | 0.041848 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 276.7503 | 276.2647 | 290.1346 | 1464.5649 | 1210.4894 | 0.062239 | 0.10382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.41006 | 0 | 0 | 0 | 0 | 0.28321 | 0.21679 | 0.28321 | 0.21679 | 0.29583 | 0.21679 | 0.13776 | 0.062239 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 590.0685 | 275.179 | 291.601 | 682.3741 | 74.0477 | 0.041773 | 0.067635 | 0 | 0 | 1 | 0.24604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66836 | 0.063296 | 0.1367 | 0.063296 | 0.1367 | 0.063296 | 0.058227 | 0.041773 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 175.3089 | 1042.1277
17 | 275.6806 | 290.3295 | 1765.2473 | 2242.933 | 0.066305 | 0.084354 | 0 | 0 | 0 | 0 | 1 | 0.64624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25271 | 0.24729 | 0.25271 | 0.24729 | 0.36088 | 0.24729 | 0.1337 | 0.066305 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 268.7647 | 276.6393 | 290.8214 | 1434.9543 | 1387.654 | 0.073255 | 0.11631 | 0 | 0 | 0 | 0 | 0 | 0 | -1.35e-12 | -1.35e-12 | 0 | 0 | 1 | 0.48111 | 0 | 0 | 0 | 0 | 0.29941 | 0.29941 | 0.29941 | 0.29941 | 0.29941 | 0.29941 | 0.10177 | 0.073255 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | -1.4e-13 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 597.8161 | 275.6997 | 289.6983 | 1705.8802 | 50.5782 | 0.074016 | 0.084989 | -2.31e-12 | -2.08e-12 | 1 | 0.78757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30512 | 0.30512 | 0.30512 | 0.30512 | 0.30512 | 0.30512 | 0.084644 | 0.074016 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 166.4113 | 1032.9921
18 | 275.6298 | 290.348 | 1843.1501 | 2697.6791 | 0.065419 | 0.082661 | 0 | 0 | 0 | 0 | 1 | 0.65046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25936 | 0.24064 | 0.25936 | 0.24064 | 0.3467 | 0.24064 | 0.13458 | 0.065419 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 268.5847 | 275.6425 | 290.6729 | 1494.9844 | 1361.1709 | 0.04215 | 0.083084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.17722 | 0 | 0 | 0 | 0 | 0.23387 | 0.066127 | 0.23387 | 0.066127 | 0.1744 | 0.066127 | 0.35785 | 0.04215 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 601.6082 | 275.5092 | 289.4756 | 492.8484 | 2112.8034 | 0.042681 | 0.07864 | 0 | 0 | 1 | 0.20632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22989 | 0.070106 | 0.082893 | 0.070106 | 0.12989 | 0.070106 | 0.55732 | 0.042681 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 159.7887 | 1029.9816
19 | 275.6806 | 289.9211 | 1881.1544 | 2242.925 | 0.067399 | 0.084354 | 0 | 0 | 0 | 0 | 1 | 0.66769 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2674 | 0.25549 | 0.34451 | 0.25549 | 0.25549 | 0.25549 | 0.1326 | 0.067399 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 265.5497 | 276.2965 | 291.1555 | 1567.4809 | 1388.1416 | 0.066065 | 0.10488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.45748 | 0 | 0 | 0 | 0 | 0.35451 | 0.24549 | 0.25451 | 0.24549 | 0.25704 | 0.24549 | 0.13393 | 0.066065 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 598.5555 | 275.4076 | 290.8121 | 1825.6125 | 19.6346 | 0.066057 | 0.075254 | 0 | 0 | 1 | 0.78063 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25692 | 0.24543 | 0.35457 | 0.24543 | 0.25457 | 0.24543 | 0.13394 | 0.066057 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 162.8582 | 1026.9634
20 | 275.6489 | 290.6915 | 1831.1718 | 2862.6053 | 0.065958 | 0.083296 | 0 | 0 | 0 | 0 | 1 | 0.65299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25533 | 0.24469 | 0.25531 | 0.24469 | 0.35531 | 0.24469 | 0.13404 | 0.065958 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 271.059 | 276.5123 | 290.4873 | 1435.5882 | 1935.0792 | 0.069519 | 0.11208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.45954 | 0 | 0 | 0 | 0 | 0.2714 | 0.2714 | 0.32673 | 0.2714 | 0.2714 | 0.2714 | 0.13048 | 0.069519 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 592.1934 | 275.7441 | 289.5127 | 494.7136 | 2221.278 | 0.05046 | 0.08647 | 0 | 0 | 1 | 0.32231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27155 | 0.12845 | 0.17155 | 0.12845 | 0.17155 | 0.12845 | 0.38535 | 0.05046 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 159.0253 | 1022.2777
21 | 275.6489 | 290.6915 | 1831.1718 | 2862.4615 | 0.065958 | 0.083296 | 0 | 0 | 0 | 0 | 1 | 0.65299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25533 | 0.24469 | 0.25531 | 0.24469 | 0.35531 | 0.24469 | 0.13404 | 0.065958 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 271.059 | 276.7155 | 290.4873 | 1435.5954 | 1934.9513 | 0.074468 | 0.11885 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.48101 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 604.4531 | 275.7505 | 289.5127 | 494.7427 | 2744.4503 | 0.050669 | 0.086682 | 0 | 0 | 1 | 0.32494 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16999 | 0.13001 | 0.26999 | 0.13001 | 0.46999 | 0.13001 | 0.090045 | 0.050669 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 158.9986 | 1034.5106
22 | 275.9282 | 292.984 | 554.5688 | 1326.0785 | 0.033842 | 0.092608 | 0 | 0 | 0 | 0 | 1 | 0.0085828 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.096184 | 0.0038155 | 0.74147 | 0.0038155 | 0.096184 | 0.0038155 | 0.066158 | 0.033842 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 297.0711 | 276.2584 | 289.8283 | 1703.0678 | 1348.8606 | 0.067846 | 0.10361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.49108 | 0 | 0 | 0 | 0 | 0.34116 | 0.25884 | 0.25884 | 0.25884 | 0.26785 | 0.25884 | 0.13215 | 0.067846 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 587.4468 | 276.2139 | 290.2645 | 492.5642 | 2178.168 | 0.06632 | 0.10213 | 0 | 0 | 1 | 0.47948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3526 | 0.2474 | 0.2526 | 0.2474 | 0.26112 | 0.2474 | 0.13368 | 0.06632 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 159.5487 | 1044.0666
23 | 276.3854 | 289.4663 | 770.0403 | 212.8425 | 0.065728 | 0.10785 | 0 | 0 | 0 | 0 | 1 | 0.43476 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25704 | 0.24296 | 0.25704 | 0.24296 | 0.35165 | 0.24296 | 0.13427 | 0.065728 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 260.2155 | 276.4298 | 290.1717 | 1434.4005 | 1349.9397 | 0.066778 | 0.10933 | 0 | 0 | -1.34e-12 | 1.34e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.4401 | 0 | 0 | 0 | 0 | 0.34916 | 0.25084 | 0.26678 | 0.25084 | 0.25084 | 0.25084 | 0.13322 | 0.066778 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 589.7184 | 276.1377 | 292.3343 | 681.0408 | 2449.0748 | 0.07328 | 0.099591 | -1.41e-12 | -1.41e-12 | 1 | 0.6029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2996 | 0.2996 | 0.2996 | 0.2996 | 0.2996 | 0.2996 | 0.1012 | 0.07328 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 175.3226 | 1025.2565
24 | 275.7568 | 290.181 | 1661.6901 | 941.8768 | 0.067624 | 0.086893 | 0 | 0 | 0 | 0 | 1 | 0.64023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25718 | 0.25718 | 0.34282 | 0.25718 | 0.26762 | 0.25718 | 0.13238 | 0.067624 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 268.3451 | 276.4361 | 289.5684 | 1460.7033 | 1513.0993 | 0.06775 | 0.10954 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.45163 | 0 | 0 | 0 | 0 | 0.34188 | 0.25812 | 0.26775 | 0.25812 | 0.25812 | 0.25812 | 0.13225 | 0.06775 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 584.3445 | 275.3441 | 291.0163 | 1556.0418 | 488.0499 | 0.062242 | 0.073137 | 0 | 0 | 1 | 0.72628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28318 | 0.21682 | 0.29587 | 0.21682 | 0.28318 | 0.21682 | 0.13776 | 0.062242 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 165.6924 | 1018.382
25 | 275.6171 | 289.7447 | 1887.8284 | 2795.2743 | 0.065418 | 0.082238 | 0 | 0 | 0 | 0 | 1 | 0.65607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25936 | 0.24064 | 0.34669 | 0.24064 | 0.25936 | 0.24064 | 0.13458 | 0.065418 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 263.198 | 276.2139 | 290.8956 | 1448.7468 | 1583.2761 | 0.059864 | 0.10213 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.38563 | 0 | 0 | 0 | 0 | 0.25782 | 0.19898 | 0.30102 | 0.19898 | 0.30102 | 0.19898 | 0.14014 | 0.059864 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 599.0554 | 275.4838 | 289.9675 | 606.2855 | 2449.8901 | 0.048467 | 0.077793 | 0 | 0 | 1 | 0.34039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1865 | 0.1135 | 0.1865 | 0.1135 | 0.17547 | 0.1135 | 0.45153 | 0.048467 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 163.5283 | 1025.7818
26 | 275.56 | 289.2899 | 1898.8814 | 1014.076 | 0.063605 | 0.080333 | 0 | 0 | 0 | 0 | 1 | 0.64408 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27296 | 0.22704 | 0.31768 | 0.22704 | 0.27296 | 0.22704 | 0.1364 | 0.063605 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 259.918 | 276.3854 | 290.3388 | 1458.1022 | 1513.0673 | 0.066069 | 0.10785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.43934 | 0 | 0 | 0 | 0 | 0.35448 | 0.24552 | 0.25448 | 0.24552 | 0.2571 | 0.24552 | 0.13393 | 0.066069 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 590.9428 | 275.7187 | 290.1346 | 640.1949 | 908.3592 | 0.058125 | 0.085624 | 0 | 0 | 1 | 0.47411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21406 | 0.18594 | 0.31406 | 0.18594 | 0.33 | 0.18594 | 0.14188 | 0.058125 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 161.8511 | 1012.7119
27 | 276.2838 | 289.7447 | 538.8892 | 3580.7123 | 0.043815 | 0.10446 | 0 | 0 | 0 | 0 | 1 | 0.14737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30104 | 0.078614 | 0.22139 | 0.078614 | 0.32139 | 0.078614 | 0.15618 | 0.043815 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 266.0673 | 276.0679 | 290.6822 | 1724.2484 | 1038.8805 | 0.06204 | 0.097263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.44903 | 0 | 0 | 0 | 0 | 0.2847 | 0.2153 | 0.29263 | 0.2153 | 0.2847 | 0.2153 | 0.13796 | 0.06204 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 595.6379 | 275.579 | 289.1971 | 887.3027 | 2211.3898 | 0.061346 | 0.080968 | 0 | 0 | 1 | 0.58807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28153 | 0.21009 | 0.28991 | 0.21009 | 0.28991 | 0.21009 | 0.13865 | 0.061346 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 155.4994 | 1017.2047
28 | 275.9155 | 289.4756 | 932.7679 | 2659.3733 | 0.057448 | 0.092184 | 0 | 0 | 0 | 0 | 1 | 0.40977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21914 | 0.18086 | 0.21917 | 0.18086 | 0.21914 | 0.18086 | 0.34255 | 0.057448 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 264.4632 | 276.398 | 290.3202 | 1010.4449 | 3641.3126 | 0.04727 | 0.10827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.18598 | 0 | 0 | 0 | 0 | 0.45631 | 0.10452 | 0.19548 | 0.10452 | 0.19548 | 0.10452 | 0.15273 | 0.04727 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 594.5366 | 275.6489 | 290.0417 | 632.734 | 900.1736 | 0.0553 | 0.083296 | 0 | 0 | 1 | 0.43966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23525 | 0.16475 | 0.3848 | 0.16475 | 0.23525 | 0.16475 | 0.1447 | 0.0553 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 162.4458 | 1021.4457
29 | 275.9155 | 289.5127 | 932.7679 | 2657.3589 | 0.057448 | 0.092184 | 0 | 0 | 0 | 0 | 1 | 0.40977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41914 | 0.18086 | 0.21917 | 0.18086 | 0.21914 | 0.18086 | 0.14255 | 0.057448 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 264.7886 | 276.4996 | 290.3109 | 1010.9403 | 3641.4405 | 0.05073 | 0.11165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.22212 | 0 | 0 | 0 | 0 | 0.26953 | 0.13047 | 0.16953 | 0.13047 | 0.46953 | 0.13047 | 0.091418 | 0.05073 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 593.3675 | 275.6171 | 289.9861 | 511.7339 | 1312.1854 | 0.047389 | 0.082238 | 0 | 0 | 1 | 0.2874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29459 | 0.10541 | 0.15822 | 0.10541 | 0.19459 | 0.10541 | 0.35261 | 0.047389 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 163.0857 | 1021.2418
30 | 276.2901 | 289.7355 | 538.7872 | 2707.6313 | 0.044017 | 0.10467 | 0 | 0 | 0 | 0 | 1 | 0.14977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11987 | 0.080129 | 0.51987 | 0.080129 | 0.20428 | 0.080129 | 0.15598 | 0.044017 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 265.9145 | 276.3409 | 289.5498 | 1434.2329 | 3624.4618 | 0.063859 | 0.10636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.41799 | 0 | 0 | 0 | 0 | 0.32174 | 0.22894 | 0.27106 | 0.22894 | 0.27106 | 0.22894 | 0.13614 | 0.063859 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 584.5497 | 275.2425 | 289.7355 | 682.8841 | 1041.8222 | 0.04393 | 0.069751 | 0 | 0 | 1 | 0.29098 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.52052 | 0.079477 | 0.12052 | 0.079477 | 0.30289 | 0.079477 | 0.05607 | 0.04393 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 162.7031 | 1013.1673
31 | 276.1885 | 289.4384 | 538.3063 | 2708.6545 | 0.040576 | 0.10128 | 0 | 0 | 0 | 0 | 1 | 0.10659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.24922 | 0.054321 | 0.34568 | 0.054321 | 0.34568 | 0.054321 | 0.059424 | 0.040576 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 264.2779 | 276.2393 | 289.5498 | 1434.2329 | 3493.6208 | 0.060314 | 0.10298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.38741 | 0 | 0 | 0 | 0 | 0.26503 | 0.20236 | 0.29764 | 0.20236 | 0.29764 | 0.20236 | 0.13969 | 0.060314 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 586.5818 | 275.3441 | 289.7355 | 675.8895 | 2090.0853 | 0.046766 | 0.073137 | 0 | 0 | 1 | 0.33748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19925 | 0.10075 | 0.29925 | 0.10075 | 0.14826 | 0.10075 | 0.35323 | 0.046766 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 163.2674 | 1014.1271
32 | 276.1504 | 290.0139 | 568.8058 | 2705.537 | 0.042571 | 0.10001 | 0 | 0 | 0 | 0 | 1 | 0.13854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43072 | 0.069283 | 0.23072 | 0.069283 | 0.18114 | 0.069283 | 0.15743 | 0.042571 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 269.6552 | 276.2901 | 290.7471 | 1434.2184 | 3625.485 | 0.062193 | 0.10467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.40456 | 0 | 0 | 0 | 0 | 0.28355 | 0.21645 | 0.29509 | 0.21645 | 0.28355 | 0.21645 | 0.13781 | 0.062193 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 595.4005 | 275.7505 | 289.9489 | 665.1571 | 1940.467 | 0.060142 | 0.086682 | 0 | 0 | 1 | 0.50251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29894 | 0.20106 | 0.29894 | 0.20106 | 0.26227 | 0.20106 | 0.13986 | 0.060142 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 160.7567 | 1025.8124
33 | 276.3854 | 290.9977 | 873.736 | 959.7907 | 0.070661 | 0.10785 | 0 | 0 | 0 | 0 | 1 | 0.50096 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31075 | 0.27996 | 0.27996 | 0.27996 | 0.27996 | 0.27996 | 0.12934 | 0.070661 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 274.1969 | 276.36 | 289.4756 | 1686.9728 | 4149.1289 | 0.070836 | 0.107 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.50909 | 0 | 0 | 0 | 0 | 0.28127 | 0.28127 | 0.28127 | 0.28127 | 0.3083 | 0.28127 | 0.12916 | 0.070836 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 583.9629 | 275.3632 | 289.3363 | 683.3286 | 1041.6303 | 0.047742 | 0.073772 | 0 | 0 | 1 | 0.35631 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19193 | 0.10807 | 0.16387 | 0.10807 | 0.19193 | 0.10807 | 0.45226 | 0.047742 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 160.3056 | 1018.4654
34 | 275.6806 | 291.2576 | 1814.3628 | 102.5453 | 0.066766 | 0.084354 | 0 | 0 | 0 | 0 | 1 | 0.65527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25074 | 0.25074 | 0.34926 | 0.25074 | 0.26677 | 0.25074 | 0.13323 | 0.066766 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 277.3385 | 277.2742 | 289.1786 | 724.5169 | 4149.1289 | 0.052332 | 0.13747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.18243 | 0 | 0 | 0 | 0 | 0.15751 | 0.14249 | 0.15751 | 0.14249 | 0.45751 | 0.14249 | 0.22747 | 0.052332 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 577.2736 | 275.3632 | 289.3363 | 683.3577 | 1041.6303 | 0.047743 | 0.073772 | 0 | 0 | 1 | 0.35634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.49193 | 0.10807 | 0.19193 | 0.10807 | 0.16389 | 0.10807 | 0.15226 | 0.047743 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 160.3053 | 1014.9173
35 | 276.6774 | 289.3642 | 636.428 | 3039.9698 | 0.066441 | 0.11758 | 0 | 0 | 0 | 0 | 1 | 0.39299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36306 | 0.24831 | 0.25169 | 0.24831 | 0.25169 | 0.24831 | 0.13356 | 0.066441 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 257.656 | 275.9092 | 289.3085 | 1434.2329 | 3626.0126 | 0.049137 | 0.091973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.26951 | 0 | 0 | 0 | 0 | 0.28147 | 0.11853 | 0.48147 | 0.11853 | 0.18147 | 0.11853 | 0.055586 | 0.049137 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 588.4657 | 275.96 | 290.0139 | 609.2291 | 1957.0939 | 0.064824 | 0.093666 | 0 | 0 | 1 | 0.52195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33718 | 0.23618 | 0.26382 | 0.23618 | 0.26382 | 0.23618 | 0.13518 | 0.064824 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 159.2173 | 1005.3391
36 | 276.2012 | 290.7471 | 560.9223 | 687.1493 | 0.04346 | 0.10171 | 0 | 0 | 0 | 0 | 1 | 0.1481 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.39536 | 0.075948 | 0.12405 | 0.075948 | 0.12405 | 0.075948 | 0.35654 | 0.04346 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 275.6047 | 276.3409 | 289.7447 | 1553.5499 | 3592.6469 | 0.067115 | 0.10636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.46258 | 0 | 0 | 0 | 0 | 0.26712 | 0.25337 | 0.34663 | 0.25337 | 0.25337 | 0.25337 | 0.13288 | 0.067115 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 586.3487 | 276.5758 | 289.4941 | 483.4056 | 2391.7838 | 0.074468 | 0.11419 | 0 | 0 | 1 | 0.50871 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 162.0188 | 1023.9722
37 | 276.2139 | 289.6983 | 489.7882 | 604.2785 | 0.035635 | 0.10213 | 0 | 0 | 0 | 0 | 1 | 0.03345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27015 | 0.01726 | 0.28274 | 0.01726 | 0.38274 | 0.01726 | 0.064365 | 0.035635 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 265.2325 | 276.4234 | 290.1717 | 1504.704 | 2061.9874 | 0.068551 | 0.10911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.46472 | 0 | 0 | 0 | 0 | 0.26855 | 0.26413 | 0.26413 | 0.26413 | 0.33587 | 0.26413 | 0.13145 | 0.068551 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 589.8002 | 276.0806 | 290.2459 | 518.7431 | 279.7738 | 0.063722 | 0.097687 | 0 | 0 | 1 | 0.47221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31955 | 0.22791 | 0.27209 | 0.22791 | 0.27209 | 0.22791 | 0.13628 | 0.063722 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 160.2036 | 1015.2363
38 | 275.9092 | 289.7447 | 636.173 | 2958.1382 | 0.040667 | 0.091973 | 0 | 0 | 0 | 0 | 1 | 0.12506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35067 | 0.055002 | 0.345 | 0.055002 | 0.145 | 0.055002 | 0.15933 | 0.040667 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 269.2548 | 275.8965 | 289.1693 | 1570.4974 | 1395.8236 | 0.052373 | 0.091549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.32705 | 0 | 0 | 0 | 0 | 0.1572 | 0.1428 | 0.2572 | 0.1428 | 0.2572 | 0.1428 | 0.3284 | 0.052373 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 587.797 | 275.687 | 289.5127 | 700.7788 | 346.2415 | 0.059411 | 0.084565 | 0 | 0 | 1 | 0.50901 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20442 | 0.19558 | 0.20442 | 0.19558 | 0.25058 | 0.19558 | 0.34059 | 0.059411 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 158.2035 | 1015.2553
39 | 276.1885 | 289.6612 | 489.8028 | 862.1236 | 0.03473 | 0.10128 | 0 | 0 | 0 | 0 | 1 | 0.02055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35568 | 0.010473 | 0.48953 | 0.010473 | 0.089527 | 0.010473 | 0.06527 | 0.03473 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 265.4404 | 275.6425 | 289.5313 | 1466.8673 | 2020.6359 | 0.04135 | 0.083084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.16113 | 0 | 0 | 0 | 0 | 0.46159 | 0.060121 | 0.13988 | 0.060121 | 0.13988 | 0.060121 | 0.25865 | 0.04135 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 591.5228 | 276.3409 | 289.8468 | 490.9904 | 288.423 | 0.070335 | 0.10636 | 0 | 0 | 1 | 0.50666 | -1.98e-12 | -3.84e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31532 | 0.27751 | 0.27751 | 0.27751 | 0.27751 | 0.27751 | 0.12967 | 0.070335 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | -1.92e-12 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 156.3219 | 1013.2852
40 | 276.0489 | 289.457 | 517.8178 | 601.7525 | 0.033637 | 0.096629 | 0 | 0 | 0 | 0 | 1 | 0.0047946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.097724 | 0.0022761 | 0.23819 | 0.0022761 | 0.29772 | 0.0022761 | 0.36636 | 0.033637 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 265.1747 | 276.5187 | 289.5313 | 1504.3324 | 2053.6739 | 0.071663 | 0.11229 | -2.63e-12 | 2.63e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.48546 | 0 | 0 | 0 | 0 | 0.29671 | 0.28747 | 0.28747 | 0.28747 | 0.28747 | 0.28747 | 0.12834 | 0.071663 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 583.7249 | 276.7091 | 289.16 | 489.5988 | 1133.9337 | 0.074468 | 0.11864 | 2.04e-12 | 1.34e-12 | 1 | 0.48221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 173.9683 | 1022.8679

## time_step0
| chiller_evap_return_temp_time_step_0 | chiller_cond_entry_temp_time_step_0 | total_evap_nwk_flowrate_time_step_0 | total_cond_nwk_flowrate_time_step_0 | sp1_temp_t_inout_time_step_0 | sp2_temp_t_inout_time_step_0 | ch1_evap_m_perc_time_step_0 | ch1_evap_t_out_time_step_0 | ch2_evap_m_perc_time_step_0 | ch2_evap_t_out_time_step_0 | gv2_ss_m_perc_time_step_0 | gv2_ss_t_in_time_step_0 | hsb_ss_m_perc_time_step_0 | hsb_ss_t_in_time_step_0 | pfa_ss_m_perc_time_step_0 | pfa_ss_t_in_time_step_0 | cp_nwk_m_perc_time_step_0 | cp_nwk_tinout_time_step_0 | ch_evap_ret_t_in_time_step_0 | ch_e_f_c_mass_flow_time_step_0 | Obj_Value_time_step_0 | Tin_Sp1 | Tin_Sp2 | Ch1_flow | Ch1_Tout | Ch1_Qe | Ch1_COP | Ch2_flow | Ch2_Tout | Ch2_Qe | Ch2_COP | gv2_flow | gv2_tin | gv2_tout | gv2_delta_t | gv2_hx | hsb_flow | hsb_tin | hsb_tout | hsb_delta_t | hsb_hx | pfa_flow | pfa_tin | pfa_tout | pfa_delta_t | pfa_hx | flow_difference | Temp_difference | Load_difference | Load_difference_percentage
0 | 276.3409 | 293.0397 | 1627.8608 | 528.5301 | 0.074468 | 0.10636 | 1 | 0.56326 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 529.7718 | 2.234 | 3.1909 | 1627.8608 | 2.234 | 1813.982 | 3.4241 | 0 | 1 | 0 | 0 | 502.2124 | 2.234 | 3.6019 | 1.3678 | 800 | 502.2124 | 2.234 | 2.747 | 0.51294 | 300 | 502.2124 | 2.234 | 2.3366 | 0.10259 | 60 | 1.6279e-06 | 0.51134 | 653.982 | 36.0523
1 | 276.3473 | 291.3319 | 1626.9573 | 528.7539 | 0.074468 | 0.10658 | 1 | 0.56163 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 513.4097 | 2.234 | 3.1973 | 1626.9573 | 2.234 | 1825.0046 | 3.5547 | 0 | 1 | 0 | 0 | 501.9336 | 2.234 | 3.6027 | 1.3686 | 800 | 501.9336 | 2.234 | 2.7473 | 0.51323 | 300 | 501.9336 | 2.234 | 2.3367 | 0.10265 | 60 | 1.627e-06 | 0.51735 | 665.0046 | 36.4385
2 | 276.7536 | 291.0163 | 1626.95 | 528.8099 | 0.074468 | 0.12012 | 0 | 0 | 1 | 0.47398 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 665.9373 | 2.234 | 3.6036 | 0 | 1 | 0 | 0 | 771.1367 | 2.234 | 1229.9106 | 1.8469 | 501.9314 | 2.234 | 3.6027 | 1.3686 | 800 | 501.9314 | 2.234 | 2.7473 | 0.51323 | 300 | 501.9314 | 2.234 | 2.3367 | 0.10265 | 60 | 1.6269e-06 | 0.92368 | 69.9106 | #DIV/0!
3 | 276.3727 | 290.9235 | 1627.8753 | 528.2743 | 0.074468 | 0.10742 | 1 | 0.55521 | 0 | 0 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.30851 | 0.074468 | 0.074468 | 1 | 1 | 527.6993 | 2.234 | 3.2227 | 1627.8753 | 2.234 | 1874.1792 | 3.5516 | 0 | 1 | 0 | 0 | 502.2169 | 2.234 | 3.6019 | 1.3678 | 800 | 502.2169 | 2.234 | 2.747 | 0.51294 | 300 | 502.2169 | 2.234 | 2.3366 | 0.10259 | 60 | 1.6279e-06 | 0.54309 | 714.1792 | 38.1062
4 | 275.7441 | 290.1531 | 1508.2378 | 7.9398 | 0.065256 | 0.08647 | 1 | 0.60076 | 0 | 0 | 0.3441 | 0.23942 | 0.26058 | 0.23942 | 0.26058 | 0.23942 | 0.13474 | 0.065256 | 1 | 1 | 267.985 | 1.9577 | 2.5941 | 1508.2378 | 1.9577 | 1117.8444 | 4.1713 | 0 | 1 | 0 | 0 | 518.9791 | 1.9577 | 3.2813 | 1.3237 | 800 | 393.0164 | 1.9577 | 2.6131 | 0.65546 | 300 | 393.0164 | 1.9577 | 2.0888 | 0.13109 | 60 | 0 | 0.23979 | -42.1556 | -3.7712
5 | 275.6933 | 290.1346 | 1515.6404 | 73.4242 | 0.063665 | 0.084777 | 1 | 0.58961 | 0 | 0 | 0.27251 | 0.22749 | 0.31864 | 0.22749 | 0.27251 | 0.22749 | 0.13634 | 0.063665 | 1 | 1 | 268.3312 | 1.9099 | 2.5433 | 1515.6404 | 1.9099 | 1117.9331 | 4.1662 | 0 | 1 | 0 | 0 | 413.0321 | 1.9099 | 3.5731 | 1.6632 | 800 | 482.9412 | 1.9099 | 2.4434 | 0.53341 | 300 | 413.0321 | 1.9099 | 2.0347 | 0.12474 | 60 | 0 | 0.23656 | -42.0669 | -3.7629
6 | 275.6679 | 290.1346 | 1515.6404 | 73.4242 | 0.062832 | 0.083931 | 1 | 0.58301 | 0 | 0 | 0.27876 | 0.22124 | 0.27876 | 0.22124 | 0.30532 | 0.22124 | 0.13717 | 0.062832 | 1 | 1 | 268.3611 | 1.885 | 2.5179 | 1515.6404 | 1.885 | 1117.1982 | 4.163 | 0 | 1 | 0 | 0 | 422.4971 | 1.885 | 3.5109 | 1.6259 | 800 | 422.4971 | 1.885 | 2.4947 | 0.60972 | 300 | 462.7492 | 1.885 | 1.9963 | 0.11134 | 60 | -7.0477e-07 | 0.23431 | -42.8018 | -3.8312
7 | 275.2616 | 290.1531 | 1515.6331 | 73.4242 | 0.048945 | 0.070386 | 1 | 0.42132 | 0 | 0 | 0.18292 | 0.11708 | 0.28292 | 0.11708 | 0.18292 | 0.11708 | 0.35125 | 0.048945 | 1 | 1 | 277.6562 | 1.4683 | 2.1116 | 1515.6331 | 1.4683 | 1135.3649 | 4.0891 | 0 | 1 | 0 | 0 | 277.2329 | 1.4683 | 3.9462 | 2.4779 | 800 | 428.7962 | 1.4683 | 2.0691 | 0.60077 | 300 | 277.2329 | 1.4683 | 1.6542 | 0.18584 | 60 | 0 | 0.5018 | -24.6351 | -2.1698
8 | 275.2616 | 289.5591 | 1508.1868 | 73.4242 | 0.048832 | 0.070386 | 1 | 0.41829 | 0 | 0 | 0.18376 | 0.11624 | 0.48131 | 0.11624 | 0.28376 | 0.11624 | 0.051168 | 0.048832 | 1 | 1 | 272.5276 | 1.465 | 2.1116 | 1508.1868 | 1.465 | 1135.7169 | 4.1673 | 0 | 1 | 0 | 0 | 277.1439 | 1.465 | 3.9436 | 2.4787 | 800 | 725.9095 | 1.465 | 1.8198 | 0.35487 | 300 | 427.9626 | 1.465 | 1.5853 | 0.12039 | 60 | 0 | 0.061133 | -24.2831 | -2.1381
9 | 275.9282 | 290.051 | 1433.3513 | 588.2751 | 0.070141 | 0.092608 | 1 | 0.62097 | 0 | 0 | 0.31803 | 0.27605 | 0.27605 | 0.27605 | 0.27605 | 0.27605 | 0.12986 | 0.070141 | 1 | 1 | 267.4164 | 2.1042 | 2.7782 | 1433.3513 | 2.1042 | 1125.0788 | 4.2072 | 0 | 1 | 0 | 0 | 455.8521 | 2.1042 | 3.6112 | 1.507 | 800 | 395.6825 | 2.1042 | 2.7553 | 0.65104 | 300 | 395.6825 | 2.1042 | 2.2344 | 0.13021 | 60 | -3.999e-09 | 0.25233 | -34.9212 | -3.1039
10 | 276.4107 | 293.0675 | 524.8634 | 2363.5421 | 0.046201 | 0.10869 | 1 | 0.17076 | 0 | 0 | 0.10349 | 0.096509 | 0.30349 | 0.096509 | 0.53922 | 0.096509 | 0.053799 | 0.046201 | 1 | 1 | 295.3059 | 1.386 | 3.2607 | 524.8634 | 1.386 | 1145.8957 | 3.8804 | 0 | 1 | 0 | 0 | 54.3186 | 1.386 | 14.0327 | 12.6467 | 800 | 159.2913 | 1.386 | 3.0032 | 1.6172 | 300 | 283.0165 | 1.386 | 1.5681 | 0.18204 | 60 | 0 | 0.051492 | -14.1043 | -1.2309
11 | 275.9219 | 289.8097 | 1208.7066 | 335.3781 | 0.065795 | 0.092396 | 1 | 0.54961 | 0 | 0 | 0.25654 | 0.24346 | 0.25272 | 0.24346 | 0.25654 | 0.24346 | 0.23421 | 0.065795 | 1 | 1 | 264.8692 | 1.9738 | 2.7719 | 1208.7066 | 1.9738 | 1123.3201 | 4.241 | 0 | 1 | 0 | 0 | 310.079 | 1.9738 | 4.1893 | 2.2154 | 800 | 305.4634 | 1.9738 | 2.8172 | 0.84333 | 300 | 310.079 | 1.9738 | 2.14 | 0.16616 | 60 | 1.3419e-13 | 0.43623 | -36.6799 | -3.2653
12 | 275.5409 | 290.181 | 1208.7066 | 333.8433 | 0.052649 | 0.079698 | 1 | 0.4166 | 0 | 0 | 0.35513 | 0.14487 | 0.25513 | 0.14487 | 0.25513 | 0.14487 | 0.1346 | 0.052649 | 1 | 1 | 277.1959 | 1.5795 | 2.3909 | 1208.7066 | 1.5795 | 1142.2394 | 4.1207 | 0 | 1 | 0 | 0 | 429.2512 | 1.5795 | 3.1798 | 1.6003 | 800 | 308.3805 | 1.5795 | 2.4148 | 0.83535 | 300 | 308.3805 | 1.5795 | 1.7465 | 0.16707 | 60 | -1.2087e-06 | 0.19998 | -17.7606 | -1.5549
13 | 275.4394 | 290.3666 | 1792.2641 | 2658.9256 | 0.05844 | 0.076312 | 1 | 0.58416 | 0 | 0 | 0.2117 | 0.1883 | 0.23503 | 0.1883 | 0.2117 | 0.1883 | 0.34156 | 0.05844 | 1 | 1 | 273.1034 | 1.7532 | 2.2894 | 1792.2641 | 1.7532 | 1119.0913 | 4.0977 | 0 | 1 | 0 | 0 | 379.4272 | 1.7532 | 3.5637 | 1.8105 | 800 | 421.2433 | 1.7532 | 2.3647 | 0.61154 | 300 | 379.4272 | 1.7532 | 1.889 | 0.13579 | 60 | 1.7923e-06 | 0.57922 | -40.9087 | -3.6555
14 | 276.3727 | 291.4989 | 956.1853 | 1508.471 | 0.073089 | 0.10742 | 1 | 0.53659 | 0 | 0 | 0.29817 | 0.29817 | 0.29817 | 0.29817 | 0.29817 | 0.29817 | 0.1055 | 0.073089 | 1 | 1 | 282.1492 | 2.1927 | 3.2227 | 956.1853 | 2.1927 | 1146.9366 | 4.065 | 0 | 1 | 0 | 0 | 285.102 | 2.1927 | 4.6022 | 2.4095 | 800 | 285.102 | 2.1927 | 3.0962 | 0.90356 | 300 | 285.102 | 2.1927 | 2.3734 | 0.18071 | 60 | 9.5619e-07 | 0.2196 | -13.0634 | -1.139
15 | 275.9663 | 290.0325 | 1194.1199 | 1378.6531 | 0.066864 | 0.093877 | 1 | 0.55383 | 0 | 0 | 0.34852 | 0.25148 | 0.26686 | 0.25148 | 0.25148 | 0.25148 | 0.13314 | 0.066864 | 1 | 1 | 267.4284 | 2.0059 | 2.8163 | 1194.1199 | 2.0059 | 1126.9602 | 4.2141 | 0 | 1 | 0 | 0 | 416.173 | 2.0059 | 3.6566 | 1.6506 | 800 | 318.6678 | 2.0059 | 2.8143 | 0.80839 | 300 | 300.2989 | 2.0059 | 2.1775 | 0.17157 | 60 | 0 | 0.2433 | -33.0398 | -2.9318
16 | 275.4267 | 290.2088 | 955.2454 | 1394.9043 | 0.041848 | 0.075889 | 1 | 0.2001 | 0 | 0 | 0.13614 | 0.063864 | 0.53614 | 0.063864 | 0.069576 | 0.063864 | 0.25815 | 0.041848 | 1 | 1 | 276.7503 | 1.2555 | 2.2767 | 955.2454 | 1.2555 | 1136.0337 | 4.1049 | 0 | 1 | 0 | 0 | 130.0437 | 1.2555 | 6.5379 | 5.2825 | 800 | 512.1419 | 1.2555 | 1.7585 | 0.503 | 300 | 66.4618 | 1.2555 | 2.0307 | 0.7752 | 60 | 0 | 0.30255 | -23.9663 | -2.1096
17 | 275.6806 | 290.3295 | 1765.2473 | 2242.933 | 0.066305 | 0.084354 | 1 | 0.64624 | 0 | 0 | 0.25271 | 0.24729 | 0.25271 | 0.24729 | 0.36088 | 0.24729 | 0.1337 | 0.066305 | 1 | 1 | 268.7647 | 1.9891 | 2.5306 | 1765.2473 | 1.9891 | 1113.1335 | 4.1417 | 0 | 1 | 0 | 0 | 446.1035 | 1.9891 | 3.529 | 1.5399 | 800 | 446.1035 | 1.9891 | 2.5666 | 0.57746 | 300 | 637.0351 | 1.9891 | 2.07 | 0.080877 | 60 | -1.7652e-06 | 0.24314 | -46.8665 | -4.2103
18 | 275.6298 | 290.348 | 1843.1501 | 2697.6791 | 0.065419 | 0.082661 | 1 | 0.65046 | 0 | 0 | 0.25936 | 0.24064 | 0.25936 | 0.24064 | 0.3467 | 0.24064 | 0.13458 | 0.065419 | 1 | 1 | 268.5847 | 1.9626 | 2.4798 | 1843.1501 | 1.9626 | 1110.2849 | 4.1338 | 0 | 1 | 0 | 0 | 478.0378 | 1.9626 | 3.3996 | 1.437 | 800 | 478.0378 | 1.9626 | 2.5014 | 0.53888 | 300 | 639.0212 | 1.9626 | 2.0432 | 0.080625 | 60 | 1.8432e-06 | 0.24096 | -49.7151 | -4.4777
19 | 275.6806 | 289.9211 | 1881.1544 | 2242.925 | 0.067399 | 0.084354 | 1 | 0.66769 | 0 | 0 | 0.2674 | 0.25549 | 0.34451 | 0.25549 | 0.25549 | 0.25549 | 0.1326 | 0.067399 | 1 | 1 | 265.5497 | 2.022 | 2.5306 | 1881.1544 | 2.022 | 1114.2903 | 4.1962 | 0 | 1 | 0 | 0 | 503.0192 | 2.022 | 3.3876 | 1.3657 | 800 | 648.0685 | 2.022 | 2.4195 | 0.3975 | 300 | 480.6241 | 2.022 | 2.1292 | 0.1072 | 60 | 2.0885e-13 | 0.24725 | -45.7097 | -4.1021
20 | 275.6489 | 290.6915 | 1831.1718 | 2862.6053 | 0.065958 | 0.083296 | 1 | 0.65299 | 0 | 0 | 0.25533 | 0.24469 | 0.25531 | 0.24469 | 0.35531 | 0.24469 | 0.13404 | 0.065958 | 1 | 1 | 271.059 | 1.9787 | 2.4989 | 1831.1718 | 1.9787 | 1109.1709 | 4.092 | 0 | 1 | 0 | 0 | 467.5584 | 1.9787 | 3.448 | 1.4692 | 800 | 467.5214 | 1.9787 | 2.5298 | 0.551 | 300 | 650.6386 | 1.9787 | 2.0579 | 0.079186 | 60 | 0 | 0.2414 | -50.8291 | -4.5826
21 | 275.6489 | 290.6915 | 1831.1718 | 2862.4615 | 0.065958 | 0.083296 | 1 | 0.65299 | 0 | 0 | 0.25533 | 0.24469 | 0.25531 | 0.24469 | 0.35531 | 0.24469 | 0.13404 | 0.065958 | 1 | 1 | 271.059 | 1.9787 | 2.4989 | 1831.1718 | 1.9787 | 1109.1709 | 4.092 | 0 | 1 | 0 | 0 | 467.5584 | 1.9787 | 3.448 | 1.4692 | 800 | 467.5214 | 1.9787 | 2.5298 | 0.551 | 300 | 650.6386 | 1.9787 | 2.0579 | 0.079186 | 60 | 0 | 0.2414 | -50.8291 | -4.5826
22 | 275.9282 | 292.984 | 554.5688 | 1326.0785 | 0.033842 | 0.092608 | 1 | 0.0085828 | 0 | 0 | 0.096184 | 0.0038155 | 0.74147 | 0.0038155 | 0.096184 | 0.0038155 | 0.066158 | 0.033842 | 1 | 1 | 297.0711 | 1.0153 | 2.7782 | 554.5688 | 1.0153 | 1138.579 | 3.8327 | 0 | 1 | 0 | 0 | 53.3409 | 1.0153 | 13.8938 | 12.8785 | 800 | 411.1979 | 1.0153 | 1.6417 | 0.62648 | 300 | 53.3409 | 1.0153 | 1.9811 | 0.96589 | 60 | 0 | 0.034 | -21.421 | -1.8814
23 | 276.3854 | 289.4663 | 770.0403 | 212.8425 | 0.065728 | 0.10785 | 1 | 0.43476 | 0 | 0 | 0.25704 | 0.24296 | 0.25704 | 0.24296 | 0.35165 | 0.24296 | 0.13427 | 0.065728 | 1 | 1 | 260.2155 | 1.9718 | 3.2354 | 770.0403 | 1.9718 | 1133.075 | 4.3544 | 0 | 1 | 0 | 0 | 197.932 | 1.9718 | 5.4425 | 3.4706 | 800 | 197.932 | 1.9718 | 3.2733 | 1.3015 | 300 | 270.7814 | 1.9718 | 2.1621 | 0.19027 | 60 | 7.7004e-07 | 0.23474 | -26.925 | -2.3763
24 | 275.7568 | 290.181 | 1661.6901 | 941.8768 | 0.067624 | 0.086893 | 1 | 0.64023 | 0 | 0 | 0.25718 | 0.25718 | 0.34282 | 0.25718 | 0.26762 | 0.25718 | 0.13238 | 0.067624 | 1 | 1 | 268.3451 | 2.0287 | 2.6068 | 1661.6901 | 2.0287 | 1118.6739 | 4.1688 | 0 | 1 | 0 | 0 | 427.3543 | 2.0287 | 3.6362 | 1.6075 | 800 | 569.6598 | 2.0287 | 2.4809 | 0.45221 | 300 | 444.7083 | 2.0287 | 2.1446 | 0.11585 | 60 | 0 | 0.2472 | -41.3261 | -3.6942
25 | 275.6171 | 289.7447 | 1887.8284 | 2795.2743 | 0.065418 | 0.082238 | 1 | 0.65607 | 0 | 0 | 0.25936 | 0.24064 | 0.34669 | 0.24064 | 0.25936 | 0.24064 | 0.13458 | 0.065418 | 1 | 1 | 263.198 | 1.9625 | 2.4671 | 1887.8284 | 1.9625 | 1109.3238 | 4.2148 | 0 | 1 | 0 | 0 | 489.6345 | 1.9625 | 3.3655 | 1.403 | 800 | 654.4919 | 1.9625 | 2.3561 | 0.3936 | 300 | 489.6345 | 1.9625 | 2.0678 | 0.10522 | 60 | 0 | 0.24107 | -50.6762 | -4.5682
26 | 275.56 | 289.2899 | 1898.8814 | 1014.076 | 0.063605 | 0.080333 | 1 | 0.64408 | 0 | 0 | 0.27296 | 0.22704 | 0.31768 | 0.22704 | 0.27296 | 0.22704 | 0.1364 | 0.063605 | 1 | 1 | 259.918 | 1.9081 | 2.41 | 1898.8814 | 1.9081 | 1109.7584 | 4.2696 | 0 | 1 | 0 | 0 | 518.3261 | 1.9081 | 3.2335 | 1.3253 | 800 | 603.2308 | 1.9081 | 2.3352 | 0.42704 | 300 | 518.3261 | 1.9081 | 2.0075 | 0.099399 | 60 | 0 | 0.23754 | -50.2416 | -4.5273
27 | 276.2838 | 289.7447 | 538.8892 | 3580.7123 | 0.043815 | 0.10446 | 1 | 0.14737 | 0 | 0 | 0.30104 | 0.078614 | 0.22139 | 0.078614 | 0.32139 | 0.078614 | 0.15618 | 0.043815 | 1 | 1 | 266.0673 | 1.3145 | 3.1338 | 538.8892 | 1.3145 | 1141.7508 | 4.2912 | 0 | 1 | 0 | 0 | 162.2286 | 1.3145 | 5.5489 | 4.2345 | 800 | 119.3027 | 1.3145 | 3.4737 | 2.1593 | 300 | 173.1916 | 1.3145 | 1.6119 | 0.29748 | 60 | 0 | 0.17622 | -18.2492 | -1.5983
28 | 275.9155 | 289.4756 | 932.7679 | 2659.3733 | 0.057448 | 0.092184 | 1 | 0.40977 | 0 | 0 | 0.21914 | 0.18086 | 0.21917 | 0.18086 | 0.21914 | 0.18086 | 0.34255 | 0.057448 | 1 | 1 | 264.4632 | 1.7235 | 2.7655 | 932.7679 | 1.7235 | 1131.9757 | 4.2803 | 0 | 1 | 0 | 0 | 204.4039 | 1.7235 | 5.0842 | 3.3608 | 800 | 204.439 | 1.7235 | 2.9835 | 1.2601 | 300 | 204.4039 | 1.7235 | 1.9755 | 0.25206 | 60 | 0 | 0.56457 | -28.0243 | -2.4757
29 | 275.9155 | 289.5127 | 932.7679 | 2657.3589 | 0.057448 | 0.092184 | 1 | 0.40977 | 0 | 0 | 0.41914 | 0.18086 | 0.21917 | 0.18086 | 0.21914 | 0.18086 | 0.14255 | 0.057448 | 1 | 1 | 264.7886 | 1.7235 | 2.7655 | 932.7679 | 1.7235 | 1131.9757 | 4.275 | 0 | 1 | 0 | 0 | 390.9574 | 1.7235 | 3.4806 | 1.7571 | 800 | 204.439 | 1.7235 | 2.9835 | 1.2601 | 300 | 204.4039 | 1.7235 | 1.9755 | 0.25206 | 60 | 0 | 0.21988 | -28.0243 | -2.4757
30 | 276.2901 | 289.7355 | 538.7872 | 2707.6313 | 0.044017 | 0.10467 | 1 | 0.14977 | 0 | 0 | 0.11987 | 0.080129 | 0.51987 | 0.080129 | 0.20428 | 0.080129 | 0.15598 | 0.044017 | 1 | 1 | 265.9145 | 1.3205 | 3.1401 | 538.7872 | 1.3205 | 1141.7144 | 4.2935 | 0 | 1 | 0 | 0 | 64.5848 | 1.3205 | 11.9569 | 10.6364 | 800 | 280.0996 | 1.3205 | 2.2402 | 0.9197 | 300 | 110.0613 | 1.3205 | 1.7886 | 0.46811 | 60 | -5.3879e-07 | 0.17684 | -18.2856 | -1.6016
31 | 276.1885 | 289.4384 | 538.3063 | 2708.6545 | 0.040576 | 0.10128 | 1 | 0.10659 | 0 | 0 | 0.24922 | 0.054321 | 0.34568 | 0.054321 | 0.34568 | 0.054321 | 0.059424 | 0.040576 | 1 | 1 | 264.2779 | 1.2173 | 3.0385 | 538.3063 | 1.2173 | 1141.7292 | 4.3202 | 0 | 1 | 0 | 0 | 134.1559 | 1.2173 | 6.3378 | 5.1205 | 800 | 186.0811 | 1.2173 | 2.6017 | 1.3844 | 300 | 186.0811 | 1.2173 | 1.4942 | 0.27688 | 60 | -5.3831e-07 | 0.043191 | -18.2708 | -1.6003
32 | 276.1504 | 290.0139 | 568.8058 | 2705.537 | 0.042571 | 0.10001 | 1 | 0.13854 | 0 | 0 | 0.43072 | 0.069283 | 0.23072 | 0.069283 | 0.18114 | 0.069283 | 0.15743 | 0.042571 | 1 | 1 | 269.6552 | 1.2771 | 3.0004 | 568.8058 | 1.2771 | 1141.5401 | 4.2333 | 0 | 1 | 0 | 0 | 244.9943 | 1.2771 | 4.0811 | 2.8039 | 800 | 131.2331 | 1.2771 | 3.2401 | 1.963 | 300 | 103.0319 | 1.2771 | 1.7772 | 0.50005 | 60 | -1.263e-13 | 0.17319 | -18.4599 | -1.6171
33 | 276.3854 | 290.9977 | 873.736 | 959.7907 | 0.070661 | 0.10785 | 1 | 0.50096 | 0 | 0 | 0.31075 | 0.27996 | 0.27996 | 0.27996 | 0.27996 | 0.27996 | 0.12934 | 0.070661 | 1 | 1 | 274.1969 | 2.1198 | 3.2354 | 873.736 | 2.1198 | 1135.0734 | 4.1396 | 0 | 1 | 0 | 0 | 271.5113 | 2.1198 | 4.6499 | 2.5301 | 800 | 244.6082 | 2.1198 | 3.173 | 1.0531 | 300 | 244.6082 | 2.1198 | 2.3305 | 0.21063 | 60 | -8.7374e-07 | 0.24968 | -24.9266 | -2.196
34 | 275.6806 | 291.2576 | 1814.3628 | 102.5453 | 0.066766 | 0.084354 | 1 | 0.65527 | 0 | 0 | 0.25074 | 0.25074 | 0.34926 | 0.25074 | 0.26677 | 0.25074 | 0.13323 | 0.066766 | 1 | 1 | 277.3385 | 2.003 | 2.5306 | 1814.3628 | 2.003 | 1114.8888 | 4.02 | 0 | 1 | 0 | 0 | 454.9376 | 2.003 | 3.513 | 1.51 | 800 | 633.6801 | 2.003 | 2.4095 | 0.40652 | 300 | 484.0097 | 2.003 | 2.1094 | 0.10645 | 60 | 0 | 0.24551 | -45.1112 | -4.0462
35 | 276.6774 | 289.3642 | 636.428 | 3039.9698 | 0.066441 | 0.11758 | 1 | 0.39299 | 0 | 0 | 0.36306 | 0.24831 | 0.25169 | 0.24831 | 0.25169 | 0.24831 | 0.13356 | 0.066441 | 1 | 1 | 257.656 | 1.9932 | 3.5274 | 636.428 | 1.9932 | 1137.0631 | 4.4131 | 0 | 1 | 0 | 0 | 231.0637 | 1.9932 | 4.9662 | 2.973 | 800 | 160.182 | 1.9932 | 3.6015 | 1.6082 | 300 | 160.182 | 1.9932 | 2.3149 | 0.32164 | 60 | -1.4132e-13 | 0.23527 | -22.9369 | -2.0172
36 | 276.2012 | 290.7471 | 560.9223 | 687.1493 | 0.04346 | 0.10171 | 1 | 0.1481 | 0 | 0 | 0.39536 | 0.075948 | 0.12405 | 0.075948 | 0.12405 | 0.075948 | 0.35654 | 0.04346 | 1 | 1 | 275.6047 | 1.3038 | 3.0512 | 560.9223 | 1.3038 | 1141.4832 | 4.1417 | 0 | 1 | 0 | 0 | 221.7635 | 1.3038 | 4.4015 | 3.0977 | 800 | 69.5837 | 1.3038 | 5.0059 | 3.7021 | 300 | 69.5837 | 1.3038 | 2.0442 | 0.74042 | 60 | 0 | 0.43651 | -18.5168 | -1.6222
37 | 276.2139 | 289.6983 | 489.7882 | 604.2785 | 0.035635 | 0.10213 | 1 | 0.03345 | 0 | 0 | 0.27015 | 0.01726 | 0.28274 | 0.01726 | 0.38274 | 0.01726 | 0.064365 | 0.035635 | 1 | 1 | 265.2325 | 1.069 | 3.0639 | 489.7882 | 1.069 | 1137.8682 | 4.2901 | 0 | 1 | 0 | 0 | 132.3181 | 1.069 | 6.2607 | 5.1917 | 800 | 138.483 | 1.069 | 2.9292 | 1.8602 | 300 | 187.4618 | 1.069 | 1.3439 | 0.27484 | 60 | 0 | 0.030008 | -22.1318 | -1.945
38 | 275.9092 | 289.7447 | 636.173 | 2958.1382 | 0.040667 | 0.091973 | 1 | 0.12506 | 0 | 0 | 0.35067 | 0.055002 | 0.345 | 0.055002 | 0.145 | 0.055002 | 0.15933 | 0.040667 | 1 | 1 | 269.2548 | 1.22 | 2.7592 | 636.173 | 1.22 | 1140.3196 | 4.2351 | 0 | 1 | 0 | 0 | 223.0872 | 1.22 | 4.2993 | 3.0793 | 800 | 219.4785 | 1.22 | 2.3937 | 1.1737 | 300 | 92.2439 | 1.22 | 1.7785 | 0.55853 | 60 | 6.3617e-07 | 0.16782 | -19.6804 | -1.7259
39 | 276.1885 | 289.6612 | 489.8028 | 862.1236 | 0.03473 | 0.10128 | 1 | 0.02055 | 0 | 0 | 0.35568 | 0.010473 | 0.48953 | 0.010473 | 0.089527 | 0.010473 | 0.06527 | 0.03473 | 1 | 1 | 265.4404 | 1.0419 | 3.0385 | 489.8028 | 1.0419 | 1138.9001 | 4.2906 | 0 | 1 | 0 | 0 | 174.2111 | 1.0419 | 4.9851 | 3.9432 | 800 | 239.7716 | 1.0419 | 2.1163 | 1.0744 | 300 | 43.8505 | 1.0419 | 2.2168 | 1.1749 | 60 | 0 | 0.031014 | -21.0999 | -1.8527
40 | 276.0489 | 289.457 | 517.8178 | 601.7525 | 0.033637 | 0.096629 | 1 | 0.0047946 | 0 | 0 | 0.097724 | 0.0022761 | 0.23819 | 0.0022761 | 0.29772 | 0.0022761 | 0.36636 | 0.033637 | 1 | 1 | 265.1747 | 1.0091 | 2.8989 | 517.8178 | 1.0091 | 1139.5834 | 4.2975 | 0 | 1 | 0 | 0 | 50.6032 | 1.0091 | 14.5844 | 13.5752 | 800 | 123.3385 | 1.0091 | 3.0977 | 2.0886 | 300 | 154.1667 | 1.0091 | 1.3433 | 0.33419 | 60 | 5.1782e-07 | 0.33584 | -20.4166 | -1.7916